## FM BOQ
S/N | SCOPE OF MAINTENANCE WORKS | REQUIREMENTS | DURATION | AMOUNT
1 | HSE MATERIALS | PPE for site personel (safety boots, helmets, googles, respirators, reflectors and cover alls | Preliminaries (One-Off)
PPE for personel maintaining water & sewage treatment plant (fullface mask, rubberized hand gloves)
General FM work tool (Scaffolds, A-ladder,Electrical drilling ,toolbox)
2 | ON SITE PERSONNEL | Day & night shift | 12 Months
1 FM Manager
2 Multi technician
2 HVAC technician
3 | ELECTRICAL (HV/LV) | Annual inspection & maintenance of HT panels | 12 Months
Monthly inspection & maintenance of LT panels, Distribution Boards, socket outlets, electrical cables
Quarterly Cleaning of electrical fittings
Quarterly routine checks on surge arrestors
Annual earth resistance integrity test & report
4 | ELV (Fire Alarm System) | Quarterly Maintenance of Fire Alarm system | 12 Months
5 | POWER GENERATORS | Six (6) maintenance services annually except replacements of damage repairs | 12 Months
6 | PLUMBING | Quaterly servicing of all water pumps & control panels | 12 Months
Annual Borehole servicing
7 | HVAC SYSTEMS | 30 tons AC (Quarterly) | 12 Months
15 tons AC (Quarterly)
1HP, 1.5HP, 2HP, 2.5HP (Quarterly)
8 | FIRE DETECTION & SUPPRESSION | Quarterly inspection and maintenance of pump systems | 12 Months
Quarterly inspection and maintenace of hose connections & valves
9 | WATER TREATMENT PLANT | Annual Washing of over head tanks (10000 LTRS 4nr) | 12 Months
Bi-annual Washing of Underground tanks (40000 LTRS 1nr)
Bi-annual Washing of Underground tanks (97,500 LTRS 1nr)
Daily dosing of water chemcals
Annual replacement of filter media
Monthly Lab analysis & report for raw & treated water
10 | ELVS (Fire alarm & Fire Hydrant) | Monthly test & Quaterly maintenance
11 | LIFT/ELEVATOR SYSTEM | Bi-Monthly maintenance of lifts with part replacement (5 Nr) | 12 Months
12 | SEWAGE TREATMENT PLANT (STP) | Monthly washing of STP chambers | 12 Months
Quaterly servicing of sewage treatment pumps, waste water pumps & control panels
13 | REFUSE DISPOSAL | Weekly disposal of waste | 12 Months
14 | CLEANING | Daily cleaning 6 days/week | 12 Months
7am - 4pm
7 Cleaners
1 Cleaning Supervisor
15 | FUMIGATION/PEST CONTROL | Quaterly fumigation (internal & Externally) | 12 Months
16 | TOILETRIES & CLEANING CONSUMABLES | Daily provision of consumables | 12 Months
|  | Sub-Total |  | 0
Administrative/Management Fees
|  | 7.5% VAT on Management Fees |  | 0
|  | TOTAL COST |  | 0