## Preliminaries (hidden)
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Preliminaries
TOTAL
ITEM | DESCRIPTION | QTY | AMOUNT
=N=
A | PRELIMINARIES
a | Mobilisation, Site Organisation, Site & Head Office Administration and Demobilisation. | Lot
b | Interpretation Procedures, Engineering and Procurement Procedures. | Lot
c | Site Supervision, Contract Administration and Management. | Lot
d | Shop drawings. | Lot
e | Materials Submittal. | Lot
f | Asbuilt Drawings | Lot
g | Operation and maintenance manual | Lot
h | Testing and Commissioning of the Entire Installations. | Lot
i | Insurance and Bonds. | Lot
j | HSE Equipment, Materials, Items and QAM Matters | Lot
k | Community Relations and Others | Lot
l | Completion and Deffect Liability Period. | Lot
| TOTAL TO SUMMARY |  | 3500000

## Power Cables
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
B | POWER DISTRIBUTION CABLES
1 | 35mmsq 1C XLPE Cu Cable (From over head utility service line to transformer) | 120 | m | KABELMETAL |  |  | 0
2 | 2 X 185mmsq 4C PVC/PVC Cu Cable (Tranformer to AMF panel) | 100 | m | " |  |  | 0
3 | 2 X 185mmsq 4C PVC/PVC Cu Cable (Synchronizing panel to AMF panel) | 15 | m | " |  |  | 0
4 | 240mmsq 4C PVC/PVC Cu Cable (Generator 1 to Synchronizing panel) | 15 | m | " |  |  | 0
5 | 95mmsq 4C PVC/PVC Cu Cable (Generator 2 to Synchronizing panel) | 15 | m | " |  |  | 0
6 | 240mmsq 4C PVC/PVC Cu Cable (AMF TO SMDB) | 165 | m | " |  |  | 0
7 | 50mmsq 1C PVC Earth Cu Cable | 10 | m | " |  |  | 0
8 | 70mmsq 1C PVC Earth Cu Cable | 10 | m | " |  |  | 0
9 | 95mmsq 1C PVC Earth Cu Cable | 10 | m | " |  |  | 0
0
10 | 10mmsq 4C PVC/PVC Cu Cable (SMDB to DB Ground Floor) | 15 | m | " |  |  | 0
11 | 10mmsq 4C PVC/PVC Cu Cable (SMDB to DB Ground Floor AC) | 15 | m | " |  |  | 0
12 | 25mmsq 4C PVC/PVC Cu Cable ( DB Kitchen Equipment) | 15 | m | " |  |  | 0
13 | 16mmsq 4C PVC/PVC Cu Cable (SMDB to DB First Floor) | 20 | m | " |  |  | 0
14 | 10mmsq 4C PVC/PVC Cu Cable (SMDB to DB First Floor AC) | 20 | m | " |  |  | 0
15 | 10mmsq 4C PVC/PVC Cu Cable (SMDB to DB Second Floor) | 25 | m | " |  |  | 0
16 | 10mmsq 4C PVC/PVC Cu Cable (Swimming pool equipment) | 50 | m | " |  |  | 0
17 | 10mmsq 1C PVC Earth Cu Cable | 100 | m |  |  |  | 0
18 | 6mmsq 3C PVC/PVC Cu Cable (SMDB to CU Clinic) | 80 | m |  |  |  | 0
19 | 6mmsq 3C PVC/PVC Cu Cable (SMDB to CU Inverter) | 25 | m |  |  |  | 0
20 | 6mmsq 3C PVC/PVC Cu Cable (Sport utility 1 and 2 consumer units) | 300 | m |  |  |  | 0
21 | 6mmsq 3C PVC/PVC Cu Cable (Lighting kiosk) | 25 | m |  |  |  | 0
0
| EXTERNAL LIGHTINGS | [5 empty] | 0
22 | 2.5mm 3c PVC cable | 190 | m |  |  |  | 0
23 | 4.0mm 3c PVC cable | 500 | m |  |  |  | 0
24 | Other installation materials/and accessories required for a complete
installaion.
(Cables Are to Be Remeasured on site before final purchase)
| TO SUMMARY | [5 empty] | 0
D | CONTAINMENT SYSTEM AND INSTALLATION
MATERIALS.
| Supply, install, test and commission stainless steel cable tray |  |  | UNITRUST OR
| and gavanized steel cable ladder containements systems which |  |  | APPROVED
| includes; adaptable boxes; the HDVT cable tray, P3300, anchor |  |  | EQUAL
bolts, bolts and lock-nuts, threaded rods with their installation
accessories of power cables, wiring cables c/w bonding etc.
distribution network wire ways
CABLE TRAY
1 | 150mm X 50mm |  | m
2 | 300mm X 50mm |  | m
3 | 600mm X 50mm |  | m
4 | 150mm X 50mm 90-degree Tee |  | m
5 | 150mm X 50mm 90-degree Bend |  | m
6 | 300mm X 50mm 90-degree Tee |  | m
7 | 300mm X 50mm 90-degree Bend |  | m
CABLE LADDER
8 | 150mm X 50mm |  | m
9 | 300mm X 50mm |  | m
10 | 150mm X 50mm 90-degree Tee |  | m
11 | 150mm X 50mm 90-degree Bend |  | m
CABLE SUPPORTS
12 | P1000 |  | Nr
13 | P2000 |  | Nr
14 | P3000 |  | Nr
15 | P4000 |  | Nr
16 | 6mm Threaded rods |  | Nr
17 | 8mm Threaded rods |  | Nr
18 | 12mm Threaded rods |  | Nr
19 | 16mm Threaded rods. |  | Nr
20 | 200 x 200 50mm stainless steel adabtable box |  | Nr
21 | 150 x 150 x 50mm stainless steel adaptable box |  | Nr
22 | Other installation materials and /or accessories required for a |  | Lots
complete installation works
TOTAL TO SUMMARY

## Conduit & Wiring Accessories
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
C | CONDUIT AND WIRING ACCESSORIES
Supply and installation of all conduiting materials
and accessories and wiring cables for all the
final subcircuit observing all the wiring
installation Regulation, colour code wrt the dwg.
LIGHTING
1 | 3x1.5mmsq. SC PVC cable in 20mm PVC conduit pipe | 322 | Pts | CUTIX or KABELMETAL |  |  | 0
for lighting points.
13A SWITCH SOCKET OUTLET ET AL
2 | 3x2.5mmsq. SC PVC cable in 20mm PVC conduit pipe | 100 | Pts | CUTIX or KABELMETAL |  |  | 0
13A raw power / inverter SSO
15A SWITCH SOCKET OUTLET
| 3x4.0mmsq. SC cable in 20mm PVC conduit pipe for | 25 | Pts | CUTIX or KABELMETAL |  |  | 0
15A switch socke outlets.
A/C 20A DP SWITCH
3 | 3x4.0mmsq. SC cable in 25mm PVC conduit pipe for | 43 | Pts | CUTIX or KABELMETAL |  |  | 0
AC single split systems.
COOKER CONTROL UNIT
4 | 3x6.0mmsq. SC in PVC in cable in 25mm PVC conduit pipe for | 3 | Pts | CUTIX or KABELMETAL |  |  | 0
Cooker control unit
5 | SMOKE DETECTION SYSTEM
| 25mm PVC conduit pipe laying for smoke detection and alarm | 45 | Pts | DIGNITY |  |  | 0
devices outlet direct to each zone c/w nylon draw wire
6 | CATV & VSAT OUTLET
| 25mm PVC conduit pipe laying for satellite and local | 4 | Pts | DIGNITY |  |  | 0
TV network c/w nylon draw wire
7 | Installation materials necessary for complete | lots
installation of items 1 - 6 above
| TOTAL TO SUMMARY | [5 empty] | 0
D | CONTAINMENT SYSTEM AND INSTALLATION
MATERIALS.
| Supply, install, test and commission stainless steel cable tray |  |  | UNITRUST OR
| and gavanized steel cable ladder containements systems which |  |  | APPROVED
| includes; adaptable boxes; the HDVT cable tray, P3300, anchor |  |  | EQUAL
bolts, bolts and lock-nuts, threaded rods with their installation
accessories of power cables, wiring cables c/w bonding etc.
distribution network wire ways
CABLE TRAY
1 | 150mm X 50mm |  | m
2 | 300mm X 50mm |  | m
3 | 600mm X 50mm |  | m
4 | 150mm X 50mm 90-degree Tee |  | m
5 | 150mm X 50mm 90-degree Bend |  | m
6 | 300mm X 50mm 90-degree Tee |  | m
7 | 300mm X 50mm 90-degree Bend |  | m
CABLE LADDER
8 | 150mm X 50mm |  | m
9 | 300mm X 50mm |  | m
10 | 150mm X 50mm 90-degree Tee |  | m
11 | 150mm X 50mm 90-degree Bend |  | m
CABLE SUPPORTS
12 | P1000 |  | Nr
13 | P2000 |  | Nr
14 | P3000 |  | Nr
15 | P4000 |  | Nr
16 | 6mm Threaded rods |  | Nr
17 | 8mm Threaded rods |  | Nr
18 | 12mm Threaded rods |  | Nr
19 | 16mm Threaded rods. |  | Nr
20 | 200 x 200 50mm stainless steel adabtable box |  | Nr
21 | 150 x 150 x 50mm stainless steel adaptable box |  | Nr
22 | Other installation materials and /or accessories required for a |  | Lots
complete installation works
TOTAL TO SUMMARY

## Electrical Accessories
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
D | ELECTRICAL ACCESSORIES.
Supply, installation and setting to work for effective commissioning
SWITCHES.
White moulded plastic type.
1 | 10A 1-gang 1-way. | 29 | Nr | SCHNEIDER |  |  | 0
2 | 10A 1-gang 2-way. | 5 | Nr | SCHNEIDER |  |  | 0
3 | 10A 2-gang 1-way. | 15 | Nr | " |  |  | 0
4 | 10A 2-gang 2-way. | 8 | Nr | " |  |  | 0
5 | 10A 3-gang 1-way. | 1 | Nr | " |  |  | 0
6 | 10A 1-way intermediate switch | 1 | Nr | " |  |  | 0
7 | 20A DP Switch with neon indicator light and earth marked | 43 | Nr | SCHNEIDER |  |  | 0
"AIR CONDITIONIER".
8 | 20A DP Switch with neon indicator light and earth marked | 8 | Nr | SCHNEIDER |  |  | 0
| "WATER HEATER". | [5 empty] | 0
| SOCKETS. | [5 empty] | 0
White moulded plastic type.
0
9 | 13A SP 1-gang SSO. (universal type) | 5 | Nr | SCHNEIDER |  |  | 0
0
10 | 45A DP COOKER CONTROL UNIT WITH INTEGRAL 13A S.S.O. AND NEON INDICATOR. | 1 | Nr | Legrand |  |  | 0
0
11 | 13A SP 2-gang SSO. c/w 2 Nos 5A USB ports (Universal type) | 16 | Nr | SCHNEIDER |  |  | 0
12 | 13A SP 2-gang SSO. c/w 2 Nos 5A USB ports (Splash proof) | 8 | Nr | SCHNEIDER |  |  | 0
13 | 13A SP 2-gang SSO.Universal Type | 57 | Nr | SCHNEIDER |  |  | 0
14 | 13A SP 2-gang SSO. (Splash Proof) | 8 | Nr | SCHNEIDER |  |  | 0
15 | 15A SP SSO. (universal type) | 25 | Nr | SCHNEIDER |  |  | 0
16 | Flush isolated TV coaxial socket outlet. | 4 | Nr | Legrand |  |  | 0
17 | 13A SP 2-gang SSO floor mounted for thread mill c/w 2Nos 5A USB ports | 3 | Nr | SCHNEIDER |  |  | 0
18 | Other installation accessory needed for complete installation of 1-17 |  | Lots
| TOTAL TO SUMMARY | [5 empty] | 0
D | CONTAINMENT SYSTEM AND INSTALLATION
MATERIALS.
| Supply, install, test and commission stainless steel cable tray |  |  | UNITRUST OR
| and gavanized steel cable ladder containements systems which |  |  | APPROVED
| includes; adaptable boxes; the HDVT cable tray, P3300, anchor |  |  | EQUAL
bolts, bolts and lock-nuts, threaded rods with their installation
accessories of power cables, wiring cables c/w bonding etc.
distribution network wire ways
CABLE TRAY
1 | 150mm X 50mm |  | m
2 | 300mm X 50mm |  | m
3 | 600mm X 50mm |  | m
4 | 150mm X 50mm 90-degree Tee |  | m
5 | 150mm X 50mm 90-degree Bend |  | m
6 | 300mm X 50mm 90-degree Tee |  | m
7 | 300mm X 50mm 90-degree Bend |  | m
CABLE LADDER
8 | 150mm X 50mm |  | m
9 | 300mm X 50mm |  | m
10 | 150mm X 50mm 90-degree Tee |  | m
11 | 150mm X 50mm 90-degree Bend |  | m
CABLE SUPPORTS
12 | P1000 |  | Nr
13 | P2000 |  | Nr
14 | P3000 |  | Nr
15 | P4000 |  | Nr
16 | 6mm Threaded rods |  | Nr
17 | 8mm Threaded rods |  | Nr
18 | 12mm Threaded rods |  | Nr
19 | 16mm Threaded rods. |  | Nr
20 | 200 x 200 50mm stainless steel adabtable box |  | Nr
21 | 150 x 150 x 50mm stainless steel adaptable box |  | Nr
22 | Other installation materials and /or accessories required for a |  | Lots
complete installation works
TOTAL TO SUMMARY

## TV&CATV SYSTEM
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
E | TV/CATV SYSTEM
Supply, installation, testing and commissioning of the TV/CATV
system, without the subscription plans.
1 | 12GHZ 140mm Electronic coated steel offsetDish with polyester stand poly propylene metal support in galvanized plate complete with 2Way LNB | 1 | Nr | Multi-chioce |  |  | 0
2 | 2x4 Multiswitch complete with necessary accessories | 1 | Nr | Teleaves |  |  | 0
3 | Ultra low-loss RG-6, co-axial cable, with polietilene physic di-electric and special anti oxidant copper-tin mesh. Beldene /Astrix/ Astel. |  | lots | Coleman
4 | Allow for all other items necessary for complete Installation of
television installation system .
| TOTAL TO SUMMARY | [5 empty] | 0

## Fire Detection System
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
F | FIRE DETECTION SYSTEM.
Supply, install, test and commission fire alarm System including wiring in conduit and trunking and other items necessary for a complete installation as per drawings and specification.GENT
MAIN BUILDING
1 | Optical Smoke detector | 27 | Nr | GENT |  |  | 0
2 | Optical Heat detector | 2 | Nr | GENT |  |  | 0
3 | Fire alarm sounder | 6 | Nr | GENT |  |  | 0
4 | Break glass | 2 | Nr | GENT |  |  | 0
5 | 12Volts 17AH Back-up Battery (Spare) | 1 | Nr | GENT |  |  | 0
6 | control module | 1 | Nr | GENT |  |  | 0
7 | Allow conduit pipes, truncking boxes and all necessary accessories for complete conduit system for conventional fire alarm system | 1 | Lots
8 | Allow for integration of the panels | 1 | Lots
9 | Allow for labeling the panels | 1 | Lots
10 | All other items and accessories necessary for a complete installation of Fire Alarm panel | 1 | Lots
11 | 2 Loop Addressable Fire Alarm Control Panel | 1 | Nr | GENT
12 | 1.5mm 2-pair Fire Retardant Cable | 1 | lots | NEXANS
13 | Installation accessories required for commissioning | 1 | lots
| TOTAL TO SUMMARY | [5 empty] | 0

## Lighting Luminaires
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
G | LIGHTING LUMINARIES
Cost should include Installation, testing and commissioning of all
lighting fittings including bulbs, lamps, starters, transformers &
gears to greater than 0.85pf.
FLUORESCENT FITTING - All Energy Saving and/or
LED TYPE
See the Iegend schedule on Drawing No. IEPM/E001.
1 | 100mm Dia. 24W E27 Downlighter | 187 | Nr | PHILLIPS |  |  | 0
2 | 6W M66 ASH WHITE COWL SPOT LIGHT Complete with in built REMOTE LOW VOLTAGE TRANSFORMER | 32 | Nr | PHILLIPS |  |  | 0
3 | 100W Ceiling fitting marlin 2242 PP. 90 | 7 | Nr | PHILLIPS |  |  | 0
4 | 13W 3hr. Non-maintained self sustained | 3 | Nr | PHILLIPS |  |  | 0
emergency lighting fitting
5 | 46W 600X600mm Recessed modular fitting suitable for concelaed/ exposed ceiling grid with alluminium louvered diffuser | 19 | Nr | PHILLIPS |  |  | 0
6 | 50W MBF LAMP RECESSED WALL MOUNTED FITTING | 15 | Nr |  |  |  | 0
7 | 100W Bowl ceiling fitting | 69 | Nr |  |  |  | 0
8 | 100W decorative wall Lighting fitting suitable for stair case | 18 | Nr |  |  |  | 0
9 | 10W Decorative strip light (BLUE) | 2 | Nr |  |  |  | 0
EXTERNAL LIGHT
10 | Wall sconce 20W LED WARM WHITE | 20 | Nr |  |  |  | 0
11 | 75W under water light | 10 | Nr |  |  |  | 0
12 | 400W Marine grade flooe light IP68 | 30 |  |  |  |  | 0
13 | 150W MBF wall mounted lamp | 27 |  |  |  |  | 0
14 | 150W SON-T Single arm Post Top LANTERN on 6000mm High pole (6000mm High pole included) | 9 |  |  |  |  | 0
15 | 150W SON-T Single arm wall mounted type marlin 8843XX + 8046m50 | 3 |  |  |  |  | 0
19 | Other installation accessories needed for complete installation |  | Lot
| TOTAL TO SUMMARY | [5 empty] | 0

## Earthing and Bonding
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
H | EARTHING AND BONDING, LIGHTNING PROTECTION SYSTEM
Supply, installation testing and commissioning of the lightning
Protection System comprising:
1 | Indelec Preventron S 6.60 non-radioactive arrester fixed on | 1 | Set | FURSE |  |  | 0
4000mm steel rod complete with base plate and mounting
accessories
2 | 25 x 3mm Tinned Copper Tape | 30 | m | FURSE |  |  | 0
3 | Screw-Down Copper Test Clamp | 1 | Nr | FURSE |  |  | 0
4 | 1.8m Copper Earth rod | 48 | Nr | FURSE |  |  | 0
5 | 600X600mm Copper Earth Mat | 15 | Nr | FURSE |  |  | 0
5 | Copper Coupler | 12 | Nr | FURSE |  |  | 0
6 | Copper Conductor Clamp | 10 | Nr | FURSE |  |  | 0
7 | Driving Stud | 8 | Nr | FURSE |  |  | 0
8 | Inspection Chamber | 2 | Nr | FURSE |  |  | 0
9 | Mounting Bracket | 1 | Lot
10 | Excavation, Backfilling and Making Good | 1 | Lot
11 | Other installation accessories including | 1 | Lot
Copper clips, saddles, screws, nails etc.
12 | Provide complete Earthing to less than 10Ω | 1 | Lot
13 | Soil Treatment | 1 | Lot
14 | Testing and Commissioning | 1 | Lot
| TOTAL TO SUMMARY | [5 empty] | 0

## PANELS
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
I | DISTRIBUTION PANELS
1 | MAIN DISTRIBUTION PANEL- MDP | 1 |  | SCHNEIDER |  |  | 0
steel sheet cubicles FORM 3 Rated Voltage: 660V, 40-60Hz Operating Voltage: 415V, 50Hz
Incomers;
2nos 500A 4Poles Motorized MCCB as PHCN and Generator Incomers complete with Electrical/Mechanical interlock.
Voltage Monitoring Relay, Control Relay,12no 6A Control MCB, On delay Timer, 2no A.O.M 3 Position Switch, emergency button, Current Transformer 2000/5A, 40KA 4P surge arrester, 63A 4P MCCB FOR SURGE ARRESTER, Digital Multimeter, Signal lamp, Red Push Button, Green Push Button.
outgoings;
2Nos 250A 4P CVS 36KA MCCB
1No 160A 4P CVS 25KA MCCB
1No 63A 4P CVS 25KA MCCB
2Nos 32A 3P CVS 25KA MCCB
2 | SUB-MAIN DISTRIBUTION PANEL- SMDP | 1 |  | SCHNEIDER |  |  | 0
steel sheet cubicles FORM 3 Rated Voltage: 660V, 40-60Hz Operating Voltage: 415V, 50Hz
Incomers;
1nos 200A 4Poles motorized MCCB complete with mechanical interlock.
Voltage Monitoring Relay, Control Relay,8no 6A Control MCB, 2no A.O.M 3 Position Switch, emergency button, Current Transformer 630/5A, 63A 4P MCCB FOR SURGE ARRESTER, Digital Multimeter, Signal lamp, Red Push Button, Green Push Button.
outgoings;
10Nos 32A 4P CVS 36KA MCCB
12No 63A 4P CVS 25KA MCCB
3 | SYNCHRONIZING PANEL
| steel sheet cubicles FORM 3 Rated Voltage: 660V, 40-60Hz Operating Voltage: 415V, 50Hz | 1 |  | SCHNEIDER |  |  | 0
1nos 160A, and 1No 400A TPN 4Poles Non-Withdrawable
MCCB complete with mechanical interlock.
4 | 500A TPN MCCB ISOLATOR
5 | 63A LIGHTING KIOSK
6 | Other installation accessories necessary for complete installtion of 1-5 above.
| TOTAL TO SUMMARY | [5 empty] | 0

## DB-CU
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
J | DISTRIBUTION EQUIPMENT AND SWITCHGEARS
Installation only of distribution equipment complete with all
protection accessories and installation materials.
1 | 6-way 63A TPN MCCB, 2 RAILS DIN RAIL type distribution board c/w all accessories "DB-X " | 2 | Nr | SCHNEIDER |  |  | 0
2 | 8-way 63A TPN MCCB, 2 RAILS DIN RAIL type distribution board c/w all accessories "DB-FF " | 3 | Nr |  |  |  | 0
3 | 12-way 100A TPN MCB, 2 RAILS DIN RAIL type distribution board c/w all accessories | 1 | Nr |  |  |  | 0
4 | 8-way 32A SPN MCCB, 2 RAILS DIN RAIL type INVERTER consumer unit c/w all accessories | 1 | Nr |  |  |  | 0
5 | 6-way 20A SPN MCCB, 2 RAILS DIN RAIL type CLINIC consumer unit c/w all accessories | 1 | Nr |  |  |  | 0
| 4-way 20A SPN MCCB, 2 RAILS DIN RAIL type SPORT UTILITY consumer unit c/w all accessories | 2 | Nr |  |  |  | 0
6 | Other installation materials/and accessories | 1 | lots
| TOTAL TO SUMMARY | [5 empty] | 0

## CCTV
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
K | CLOSED CIRCUIT TELEVISION
Supply, erect and connect the following CCTV items and Other Access Control Equipments:
WIRING ACCESSORIES AND CABLES
1 | Cable - UTP, 1061C, Cat 6, 4-pair (m) | 1 | Lot | D-link
2 | Miscellaneous wiring accessories, end of line RJ45 pins, etc | 1 | Lot | D-link
EQUIPMENT AND DEVICES
3 | Indoor Dome CCTV camera HIK VISION | 12 |  | Hikvision |  |  | 0
4 | Closed circuit Colour Camera with day/night operation, Motion detector, full HD and ONVIF Complaint 4MP, 1080P Outdoor Fixed PTZ Analogue Camera. | 7 | Nr | Hikvision |  |  | 0
6 | Network Video recorder with 24 channels and 12 tera-byte backup internet ready. | 1 | Nr | " |  |  | 0
7 | 18U I.T. Rack | 1 | Nr | COMMSCOPE |  |  | 0
8 | 43" LED CCTV monitor | 1 | Nr | HISENSCE |  |  | 0
9 | Miscellenious Items not covered above | 1 | Lot
| TOTAL TO SUMMARY | [5 empty] | 0

## EXTRA LOW VOLTAGE
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
L | EXTRA LOW VOLTAGE
Supply, erect and connect the following CCTV items, LAN and Other Access Control Equipments:
LAN
1 | CAT 5e STP Cable | 6 | drums | COMMSCOPE |  |  | 0
2 | Double face plate | 2 | Pcs | " |  |  | 0
3 | Single face plate | 9 | Pcs | COMMSCOPE |  |  | 0
4 | Module | 114 | Pcs | COMMSCOPE |  |  | 0
5 | 18-U Rack | 1 | Pcs | COMMSCOPE |  |  | 0
6 | Patch Panels | 1 | Pcs | COMMSCOPE |  |  | 0
7 | Wireless Hotspot | 7 | Pcs | COMMSCOPE |  |  | 0
8 | Miscellenious Items not covered above |  | Lot
(All Above Items Are subject to Clients Specifications and Requirements)
DOOR ACCESS CONTROL SYSTEM
1 | IP Based Access Control SF100 | 6 | Nr | ZKTECO |  |  | 0
2 | Single Magnetic Lock for Offices Entrance | 6 | Nr | ZKTECO |  |  | 0
3 | No touch exit Button | 6 | Nr | ZKTECO |  |  | 0
4 | Door control unit | 1 | Nr | ZKTECO |  |  | 0
5 | Turnstiles installation with electronic module complete with card readers and other commissioning accessories. | 1 | lots
6 | Access control cards; 500 numbers. | 1 | lots
5 | Miscellenious Items not covered above | 1 | lots
PAS SYSTEM
1 | Ceing Mounted Speakers | 36 | Nr | BOSCH |  |  | 0
2 | 400W, 4 Zone Mixer Amplifier | 1 | Nr | BOSCH |  |  | 0
3 | Remote Volume controller | 4 | Nr | BOSCH |  |  | 0
4 | Cables (Twisted Pair, AV Link cables, etc) |  | lots
| TOTAL TO SUMMARY | [5 empty] | 0

## EXTERNAL
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
M | EXTERNAL WORKS
i | CONDUIT SYSTEM AND INSTALLATION MATERIALS
Supply, installation, testing and commissioning of conduit system
trunking, boxes, adaptable boxes, draw wire for wiring system
telephone / intercom, CCTV, TV antennae etc distribution
network wire-ways
1 | 100mm DIA. UPVC pipe. | 200 | m | PLANNAR |  |  | 0
2 | 100mm conduit accessories and installation materials |  | Lot | "
via joints, PVC gum, bends etc.
3 | 100 x 100 x 50mm PVC adaptable box. | 20 | Nr | DIGNITY |  |  | 0
4 | Other installation materials/and accessories |  | Lot
required for a complete installation works.
| TOTAL TO SUMMARY | [5 empty] | 0
ii | GENERATOR AND POWER CONNECTION TO GRID
1 | The Contractor shall supply, install and | 1 | Nr | CUMMINS
commission 1 x 150KVA 1500rpm, 415V,
50Hz, 0.8 p.f SOUND-PROOF prime-rated
diesel-engine with , stamford class "H" alternator
complete as specified and shown in the tender
drawings with all control, protection and
instrumentation facilities. Each generator shall be
equipped with intelligent control modules for
Automatic main failure operations, Automatic
synchronizing and load sharing, communication
and internet bridge.
The Contractor shall supply, install and
commission1 X 100KVA 1500rpm, 415V,
50Hz, 0.8 p.f SOUND-PROOF prime-rated
diesel-engine with , stamford class "H" alternator
complete as specified and shown in the tender
drawings with all control, protection and
instrumentation facilities. Each generator shall be
equipped with intelligent control modules for
Automatic main failure operations, Automatic
2 | synchronizing and load sharing, communication |  | lot
and internet bridge.
3 | kilowatt-Hour Meter demand meter, and connection to EKEDC Network and Statutory charges | 1 | lot
4 | 11/0.415KV ONAN 300KVA outdoor transformer | 1 | Nr | ABB
| TO SUMMARY | [5 empty] | 0

## EXTERNAL 2 (hidden)
PROPOSED RESIDENTIAL DEVELOPMENT AT CIII OJOMU CHIEFTANCY FAMILY LAND, IDADO, EJIRAN, ETI-OSA LGA , LAGOS STATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
D | TV/CATV SYSTEM
Supply, installation, testing and commissioning of the TV/CATV
system, without the subscription plans.
1 | 12GHZ 140mm Electronic coated steel offsetDish with polyester pain | 1 | Nr |  | 25000 | 3750 | 28750
stand poly propylene metal support in galvanized plate
2 | Ultra low-loss RG-6, co-axial cable, with polietilene physic di-electric | 1 | Nr |  | 5000 | 750 | 5750
and special anti oxidant copper-tin mesh. Beldene /Astrix/ Astel.
3 | Allow for all other items necessary for complete Installation of | 1 | Lots |  |  |  | 10000
television installation system .
| TOTAL TO SUMMARY | [5 empty] | 44500
E | FIRE DETECTION SYSTEM.
Supply, install, test and commission Stand alon fire alarm System and other items necessary for a complete installation as per drawings and specification.GENT
1 | Smoke detector (Stand Alone Battery Powered Type) | 3 | Nr | GENT | 8500 | 1275 | 29325
2 | Heat detector (Stand Alone Battery Powered Type) | 2 | Nr | GENT | 8500 | 1275 | 19550
3 | All other items and accessories necessary for a complete installation of Fire Alarm panel sytem | 1 | Lots |  |  |  | 20000
| TOTAL TO SUMMARY | [5 empty] | 20000
F | LIGHTING LUMINARIES
Cost should include Installation, testing and commissioning of all
lighting fittings including bulbs, lamps, starters, transformers &
gears to greater than 0.85pf.
FLUORESCENT FITTING - All Energy Saving and/or
LED TYPE
See the Iegend schedule on Drawing No. IEPM/E001.
1 | 35W T16 Corrosion Resistance IP65 Light Fitting | 10 | Nr | POWERTEC UK | 45000 | 6750 | 517500
2 | 20W Urban Bollard IP65 Fitting | 36 | Nr | POWERTEC UK | 22000 | 3300 | 910800
[6 empty] | 0 | 0
3 | 26W splashproof ceiling fitting for Toilet c/w energy saving bulb | 2 | Nr | POWERTEC UK | 9500 | 1425 | 21850
4 | 40W LED TOP POST Urban Bollard | 4 | Nr | POWERTEC UK | 14500 | 2175 | 66700
5 | 18W LED Recessed ceiling fitting (Office) | 4 | Nr | POWERTEC UK | 8000 | 1200 | 36800
6 | 18W CFL IP65 Perimeter Lights | 35 | Nr | POWERTEC UK | 7500 | 1125 | 301875
7 | 40w Solar Street Lights | 37 | Nr | HARDASAM | 37000 | 5550 | 1574350
8 | Wall mounted White Stainless Steel, Street Light Poles with installation Assesories | 25 | Nr | HARDASAM | 15000 | 2250 | 431250
9 | 6m High White Stainless Steel, Street Light Poles with installation Assesories | 12 | Nr | HARDASAM | 34000 | 5100 | 469200
10 | Street Light Base | 12 | Nr | civil works
| TOTAL TO SUMMARY | [5 empty] | 3861125
G | EARTHING AND BONDING
Provide and install the complete Earthing and Bonding System
| of the entire electrical system viz the main panel board etc to IEE |  |  | FURSE
Regulation Standards and Earth Rod arrangement as described
under Lightning protection System.
MAIN FACTORY
1 | Provide complete Earthing to less than 10Ω including
| clean earthing to less than 2Ω | 3 | Lots |  |  |  | 450000
| TOTAL TO SUMMARY | [5 empty] | 450000
H | DISTRIBUTION EQUIPMENT AND SWITCHGEARS
Installation only of distribution equipment complete with all
protection accessories and installation materials.
1 | MAIN DISTRIBUTION PANEL | 1 | Nr | SCHNEIDER | 2750000 | 412500 | 3162500
steel sheet cubicles FORM 2 Rated Voltage: 660V, 40-60Hz Operating Voltage: 415V, 50Hz
incomers;
2nos 400A Adj. 4Poles Withdrawable MCCB for Generator 1 & 2 and 1Nos 800A Adj. 4Poles ACB For Utility Supply
c/w Voltage Monitoring Relay, Control Relay,12no 6A Control MCB, On delay Timer, 2no A.O.M 3 Position Switch, emergency button, Current Transformer 200A/5A, 40KA 4P surge arrester, 63A 4P MCCB FOR SURGE ARRESTER, Digital Multimeter, Signal lamp c/w 1000A ATS/SYCH MODULE
outgoings;
1No 250A 4P Adj. MCCB with 36KA MCCB with Aux Contact
13 Nos 63A TPN MCCB
2 Nos 32A DP MCCB
2 Nos 20A DP MCCB
2 | SUB-DISTRIBUTION PANEL (FEEDER PILLAR FP-01) | 1 | Nr | SCHNEIDER | 1850000 | 277500 | 2127500
steel sheet cubicles FORM 2 Rated Voltage: 660V, 40-60Hz Operating Voltage: 415V, 50Hz
incomers;
2nos 250A 4Poles Withdrawable MCCB
c/w Voltage Monitoring Relay, Control Relay,12no 6A Control MCB, On delay Timer, 2no A.O.M 3 Position Switch, emergency button, Current Transformer 200A/5A, 40KA 4P surge arrester, 63A 4P MCCB FOR SURGE ARRESTER, Digital Multimeter, Signal lamp c/w 1000A ATS/SYCH MODULE
outgoings;
10No 63A 4P MCCB
1 Nos 20A TPN MCCB
ISOLATORS
2 | 1000A TPN Main Incomer Isolator | 1 | Nr | SCHNEIDER | 750000 | 112500 | 862500
3 | 63A TPN gear fused switch | 1 | Nr | SCHNEIDER | 85000 | 12750 | 97750
4 | 3PHASE 32A TPN MCB type LIGHTING KIOSK | 2 | Nr | SCHNEIDER | 120000 | 18000 | 276000
| c/w illumination sensor | [5 empty] | 0
5 | Other installation materials/and accessories | Lots |  |  |  |  | 350000
required for a complete installation works.
| TOTAL TO SUMMARY | [5 empty] | 6876250

## EXTERNAL 3 (hidden)
PROPOSED RESIDENTIAL DEVELOPMENT AT CIII OJOMU CHIEFTANCY FAMILY LAND, IDADO, EJIRAN, ETI-OSA LGA , LAGOS STATE.
BILL OF QUANTITIES: Electrical System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
J | CONDUIT SYSTEM AND INSTALLATION
MATERIALS.
Supply, installation, testing and commissioning of conduit system
trunking, boxes, adaptable boxes, draw wire for wiring system
telephone / intercom, CCTV, TV antennae etc distribution
network wire-ways
1 | 100mm DIA. UPVC pipe. (actual quantity to be known on site) | 1250 | m | PLANNAR | 2200 | 330 | 3162500
2 | 50, 75 & 100mm conduit accessories and installation materials
| via joints, PVC gum, bends etc. | 1 | Lot | " |  |  | 300000
9 | Other installation materials/and accessories
| required for a complete installation works. | 1 | Lot |  |  |  | 150000
| TOTAL TO SUMMARY | [5 empty] | 3612500
K | LIGHTNING PROTECTION SYSTEM
Supply, installation testing and commissioning of the lightning
Protection System comprising:
1 | early streamer Emission Thunder Arrester | 1 | Set | INDELEC | 600000 | 120000 | 720000
fixed on Overhead Thank gantry c/w 5m high Galvanised Steel Pole with installation brackets,
plate and other mounting accessories
2 | 25 x 3mm Tinned Copper Tape | 50 | m | FURSE | 4025 | 805 | 241500
3 | Screw-Down Copper Test Clamp | 1 | Nr |  | 3611 | 722.2 | 4333.2
4 | 1.8m Copper Earth rod | 3 | Nr |  | 12075 | 2415 | 43470
5 | Copper Coupler | 3 | Nr |  | 1311 | 262.2 | 4719.6
6 | Copper Conductor Clamp | 30 | Nr |  | 3611 | 722.2 | 129996
7 | Driving Stud | 1 | Nr |  | 327.75 | 65.55 | 393.3
8 | Inspection Chamber | 1 | Nr |  | 12305 | 2461 | 14766
9 | Protection Sheath | 2 | Nr |  | 8625 | 1725 | 20700
10 | Mounting Bracket |  | Lot |  |  |  | 300000
11 | Excavation, Backfilling and Making Good |  | Lot |  |  |  | 350000
12 | Other installation accessories including
| Copper clips, saddles, screws, nails etc. |  | Lot |  |  |  | 100000
13 | Soil Treatment |  | Lot |  |  |  | 150000
14 | Testing and Commissioning |  | Lot |  |  |  | 75000
| TOTAL TO SUMMARY | [5 empty] | 2154878.1
L | POWER SUPPLY |  |  | Client Supplied
Items
1 | ONAN 11/0.415kv 500KVA Transformer | 1 | Nr | ABB | 7500000 | 1125000 | 8625000
| TOTAL TO SUMMARY | [5 empty] | 8625000

## SUMMARY
PROJECT NAME: PROPOSED CLUB HOUSE DEVELOPMENT FOR TOTAL E&P STAFF MULTIPURPOSE COOPERATIVE SOCIETY @ PLOT 8, WATER COPORATIONN DRIVE, ONIRU (V/I EXTENSION) LAGOS TATE.
BILL OF QUANTITIES: Summary Page
Item | Description | Unit | Total Cost
No. |  |  | (Naira)
Summary
A | Cables From Feeder Lines to MDM to Distribution Panels to Individual Distribution Boards and Consumer Units |  | 0
B | Conduit and Wiring Accessories |  | 0
C | Electrical Accessories |  | 0
D | TV/CATV Systems |  | 0
E | Fire Detecion Systems |  | 0
F | Lighting Luminaries |  | 0
G | Earthing, bonding, lightening and protection system |  | 0
H | Panels |  | 0
J | Distribution Equipment and Switch Gear |  | 0
K | Closed Circuit Television (CCTV) |  | 0
L | ELV SYSTEM |  | 0
M | External Works
i | Conduit system and installation materials |  | 0
ii | Transformer, Generator and Power connection to grid. |  | 0
| Grand Total |  | 0
| To GENERAL SUMMARY OF CIVIL WORKS BOQ |  | 0