## Preliminaries (hidden)
PROJECT NAME: PROPOSED CLUB HOUSE FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
BILL OF QUANTITIES: Preliminaries
TOTAL
ITEM | DESCRIPTION | QTY | AMOUNT
=N=
A | PRELIMINARIES
a | Mobilisation, Site Organisation, Site & Head Office Administration and Demobilisation. | Lot
b | Interpretation Procedures, Engineering and Procurement Procedures. | Lot
c | Site Supervision, Contract Administration and Management. | Lot
d | Shop drawings. | Lot
e | Materials Submittal. | Lot
f | Asbuilt Drawings | Lot
g | Operation and maintenance manual | Lot
h | Testing and Commissioning of the Entire Installations. | Lot
i | Insurance and Bonds. | Lot
j | HSE Equipment, Materials, Items and QAM Matters | Lot
k | Community Relations and Others | Lot
l | Completion and Deffect Liability Period. | Lot
| TOTAL TO SUMMARY |  | 2000000

## HVAC
PROJECT NAME: PROPOSED CLUB HOUSE FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
BILL OF QUANTITIES: HVAC System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
B | HVAC System
A | AIR-CONDITIONING EQUIPMENT SYSTEM INSTALLATIONS
Supply and install unitary DX air conditioning equipment with all necessary
accessories including remote controls ready for commissioning.
1 | DX split wall mounted indoor air-conditioning unit; cross-flow with condenser | 9 | Nr | Panasonic |  |  | 0
Cooling Capacity - 2.8KW
2 | DX split wall mounted indoor air-conditioning unit; cross-flow with condenser | 12 | Nr | Panasonic |  |  | 0
| Cooling Capacity - 3.56KW | [5 empty] | 0
0
3 | DX split wall mounted indoor air-conditioning unit; cross-flow with condenser | 6 | Nr | Panasonic |  |  | 0
| Cooling Capacity - 5.6KW | [5 empty] | 0
4 | DX split cassette indoor air-conditioning unit; 4way-flow | 11 | Nr | Panasonic |  |  | 0
Cooling Capacity - 3.5KW
5 | DX split cassette indoor air-conditioning unit; 4way-flow | 6 | Nr | Panasonic |  |  | 0
Cooling Capacity - 5.6kW
B | PIPEWORK INSTALLATION
1 | REFRIGERANT PIPES
Refrigerant Pipework and Accessories seamless, degreased, de-oxidized refrigerant
| pipes suitable for required refrigerant operating at a optimum pressure. |  |  | MARKSAL
Drawings to be studied
i | 12.7 (mm) dia coil copper pipe | 350 | m |  |  |  | 0
ii | 9.53 (mm) dia coil copper pipe | 53 | m |  |  |  | 0
iii | 6.35 (mm) dia coil copper pipe | 403 | m |  |  |  | 0
2 | Condensate Pipework -
UPVC pipes and fittings to BS3505 for sleeve and condensate. Cost to include
insulation tube (Armaflex).
| All pipes and fittings required, both as sleeve for the refrigerant pipes and condensate. | 1 | Lots |  |  |  | 0
Drawings to be studied
3 | INSULATION |  |  | ARMACELL
i | 12.7 (mm) dia coil copper pipe | 402 | m |  |  |  | 0
ii | 9.53 (mm) dia coil copper pipe | 53 | m |  |  |  | 0
0
iii | 6.35 (mm) dia coil copper pipe | 350 | m |  |  |  | 0
iv | 0.75mm2 3-core shielded Communication Cable | 420 | m |  |  |  | 0
v | Control Cabling | 1 | lot
0
C | VENTILATION SYSTEM INSTALLATIONS | [5 empty] | 0
0
| EXTRACTOR FANS |  |  | Xpeliar |  |  | 0
0
1 | Wall Mounted Extractor Fans complete with cable and all installation | 3 | NR |  |  |  | 0
| accessories. | [5 empty] | 0
| Capacity: 0.0236m3/s | [5 empty] | 0
0
2 | In line ducted Extractor Fans complete with air valves, flexible duct connectors, | 3 | NR |  |  |  | 0
grilles, cable and all installation accessories.
Capacity: 0.150m3/s
3 | In line ducted Extractor Fans complete with air valves, flexible duct connectors, | 1 | NR |  |  |  | 0
grilles, cable and all installation accessories.
Capacity: 0.121m3/s
4 | In line ducted Extractor Fans complete with air valves, flexible duct connectors, | 2 | NR |  |  |  | 0
grilles, cable and all installation accessories.
Capacity: 0.075m3/s
5 | In line ducted Extractor Fans complete with air valves, flexible duct connectors, | 1 | NR |  |  |  | 0
grilles, cable and all installation accessories.
Capacity: 0.16m3/s
6 | In line ducted Extractor Fans complete with air valves, flexible duct connectors, | 1 | NR |  |  |  | 0
grilles, cable and all installation accessories.
Capacity: 0.17m3/s
7 | In line ducted Extractor Fans complete with air valves, flexible duct connectors, | 1 | NR |  |  |  | 0
grilles, cable and all installation accessories.
Capacity: 0.193m3/s
8 | In line ducted Extractor Fans complete with air valves, flexible duct connectors, | 1 | NR |  |  |  | 0
grilles, cable and all installation accessories.
Capacity: 0.134m3/s
9 | In line ducted Extractor Fans complete with air valves, flexible duct connectors, | 1 | NR
grilles, cable and all installation accessories.
Capacity: 0.190m3/s
10 | In line ducted Extractor Fans complete with air valves, flexible duct connectors, | 1 | NR
grilles, cable and all installation accessories.
Capacity: 0.14m3/s
D | TERMINAL UNIT AND DUCT WORK
DUCT WORK
Fabricate, supply and erect ductwork including bends, junctions, flexible, connection
reducers, splitter dampers, non-return dampers, hangers and duct support, plenum box
as specified in the drawings
1 | Pre-fabric galvanised duct | 140 | m2 |  |  |  | 0
2 | Flexible
i | Ф100mm | 42 | m |  |  |  | 0
| TOTAL TO SUMMARY | [5 empty] | 0

## SANITARY AND APPLIANCES
PROJECT NAME: PROPOSED CLUB HOUSE FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
BILL OF QUANTITIES: Sanitary and Appliances.
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
C | SANITARY AND APPLIANCES
MAIN BUILDING
A | SANITARY FITTINGS
1 | Closed couple water closet suite complete with wall mounted pan, cistern, seat | 37 | Nr | Ideal Standard |  |  | 0
and cover, flush mechanism and other installation accessories.
0
2 | Urinal system complete with flush valve, self cleaning piston, wall hanger, angle | 9 | Nr | Ideal Standard |  |  | 0
stop with back flow protection and other installation accessories.
3 | Countertop wash hand basin without pedestal complete with two tapholes for self | 16 | Nr | Ideal Standard |  |  | 0
closing chrome plated pillar taps, mixer tap, pop-up waste and other installation
accessories.
4 | Wall hung wash hand basin complete with two taphole for self closing | 11 | Nr | Ideal Standard |  |  | 0
chrome plated pillar tap, pop-up waste and other installation accessories
including mixer tap.
5 | Acrylic shower tray complete with aniti-slip reistant base, 3 ways mixer valve | 4 | Nr | Ideal Standard |  |  | 0
suitable for concealed pipework, bath filler, adjustable shower spout and other
installation accessories.
6 | Toilet accessories not limited to soap dispenser, tissue holder, handdrier etc. | 1 | Lot |  |  |  | 0
B | APPLIANCES
1 | Stainless steel belfast kitchen sink complete with single bowl, with mixer-swivel | 5 | Nr | Foster |  |  | 0
tap, chain waste plug and other installation accessories.
Confirm with kitchen speciialist specification
2 | Stainless steel kitchen sink complete with single bowl , with mixer-swivel tap, | 1 | Nr | Foster |  |  | 0
chain waste plug and other installation accessories.
Confirm with kitchen speciialist specification
3 | Stainless steel kitchen sink complete with double bowl, with mixer-swivel | 1 | Nr | Foster |  |  | 0
tap, chain waste plug and other installation accessories.
Confirm with kitchen speciialist specification
4 | Electric Water Heater complete with electical cable, mounting brackets | 4 | Nr | Ariston |  |  | 0
and other installation accessories.
Capacity: 50 LITRES
5 | Instantaneous electric water heater with built-in thermostat to ensure automatic | 4 | Nr | Ariston |  |  | 0
control with thermal cut-out. System to have a special strong activated pressure
relief safety valve to release any excess pressure of 6.5bar within the warter
heater with a 4.5KW heating element.
Confirm with kitchen speciialist specification
SPORT FACILITY TOILET
A | SANITARY FITTINGS
1 | Close couple water closet suite comple with wall mounted pan, cistern, seat and | 16 | Nr | Ideal Standard |  |  | 0
cover, flush mechanism and other installation accessories.
2 | Urinal system complete with flush valve, self cleaning piston, wall hanger, angle | 4 | Nr | Ideal Standard |  |  | 0
stop with back flow protection and other installation accessories.
Client to confirm if it is sensor driven
3 | Wall hung semi-pedestal wash hand basin complete with two taphole for self | 8 | Nr | Ideal Standard |  |  | 0
closing chrome plated pillar tap, pop-up waste and other installation accessories
including mixer tap
4 | Toilet accessories not limited to soap dispenser, tissue holder, handdrier etc. | 1 | Lot
| TOTAL TO SUMMARY | [5 empty] | 0

## WATER
PROJECT NAME: PROPOSED CLUB HOUSE FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
BILL OF QUANTITIES: Water Supply System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
D | WATER SUPPLY SYSTEM
MAIN BUILDING
A | DOMESTIC COLD & HOT WATER SUPPLY
| Polypropylene Pipe Random Copolymer Pipe (PPR) - All pipe |  |  | ONUR PLASTIC
diameter refers to are internal diameter.
PIPES
1 | 20mm | 183 | m |  |  |  | 0
0
2 | 26mm | 46 | m |  |  |  | 0
0
3 | 32mm | 39 | m |  |  |  | 0
0
4 | 40mm | 49 | m |  |  |  | 0
5 | 50mm | 15 | m |  |  |  | 0
FITTINGS
This should include all accessories required for effective pipe
connection, not limited to bends, tees, reducers, union,brackets
| clips, sockets etc, by studying the drawings. | 1 | Lots | ONUR PLASTIC
6 | 20mm Isolating Valve | 9 | Nr | ONUR PLASTIC |  |  | 0
0
7 | 26mm Isolating Valve | 8 | Nr | ONUR PLASTIC |  |  | 0
0
8 | 32mm Isolating Valve | 1 | Nr | ONUR PLASTIC |  |  | 0
0
9 | 15mm Chrome Flexible Connector | 90 | Nr | Sweethome |  |  | 0
SPORT FACILITY
A | DOMESTIC COLD & HOT WATER SUPPLY
| Polypropylene Pipe Random Copolymer Pipe (PPR) - All pipe |  |  | ONUR PLASTIC
diameter refers to are internal diameter.
PIPES
1 | 20mm | 46 | m |  |  |  | 0
FITTINGS
This should include all accessories required for effective pipe
connection, not limited to bends, tees, reducers, union,brackets
| clips, sockets etc, by studying the site consideration | 1 | Lots | ONUR PLASTIC
2 | 20mm Isolating Valve | 7 | Nr | ONUR PLASTIC |  |  | 0
3 | 15mm Chrome Flexible Connector | 28 | Nr | Sweethome |  |  | 0
| TOTAL TO SUMMARY | [5 empty] | 0

## DRAINAGE
PROJECT NAME: PROPOSED CLUB HOUSE FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
BILL OF QUANTITIES: Drainage System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
E | DRAINAGE SYSTEM
MAIN BUILDING
A | SOIL AND WASTE PIPEWORK INSTALLATION
UPVC and Polythene pipes and fittings to BS-EN 1329 and
1401. Cost to include for supports and fixing.
| PIPES |  |  | WAVIN, REHAU,
0
1 | 110mm | 105 | m |  |  |  | 0
0
2 | 50mm | 266 | m |  |  |  | 0
0
B | FITTINGS
This should include all accessories required for effective pipe
| connection, not limited to bends, tees, reducers, union,brackets | 1 | Lots
clips, sockets etc, by studying the drawings.
1 | 40mm Chrome Plated Bottle Trap with adjustable pipe | 4 | Nr |  |  |  | 0
0
2 | 32mm Chrome Plated Bottle Trap with adjustable pipe | 26 | Nr |  |  |  | 0
3 | 50 x 40mm Rubber Adaptor | 4 | Nr |  |  |  | 0
4 | 50 x 32mm Rubber Adaptor | 26 | Nr |  |  |  | 0
0
5 | 100mm Vent Cowl | 24 | Nr |  |  |  | 0
6 | 100 Pan Connector | 37 | Nr |  |  |  | 0
SPORT FACILITY TOILET
A | SOIL AND WASTE PIPEWORK INSTALLATION
UPVC and Polythene pipes and fittings to BS-EN 1329 and
1401. Cost to include for supports and fixing.
| PIPES |  |  | WAVIN, REHAU,
0
2 | 110mm | 38 | m |  |  |  | 0
0
3 | 50mm | 30 | m |  |  |  | 0
0
B | FITTINGS
This should include all accessories required for effective pipe
| connection, not limited to bends, tees, reducers, union,brackets | 1 | Lots | WAVIN, REHAU,
clips, sockets etc, by studying the drawings.
2 | 32mm Chrome Plated Bottle Trap with adjustable pipe | 8 | Nr |  |  |  | 0
0
3 | 50 x 32mm Rubber Adaptor | 8 | Nr |  |  |  | 0
0
5 | 100mm Vent Cowl | 6 | Nr |  |  |  | 0
6 | 100 Pan Connector | 16 | Nr |  |  |  | 0
| TOTAL SUMMARY | [5 empty] | 0

## FIREFIGHTING
PROJECT NAME: PROPOSED CLUB HOUSE FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
BILL OF QUANTITIES: Fire Fighting System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
F | FIRE FIGHTING SYSTEM
Supply and install Pipe for fire fighting system black steel seamless
Pipe standard weight with grooved-end (for larger than DN50) or
threaded fittings and accessories, installed exposed or in shafts,
schedule 40 . Including all kind of supports and hangers all as
specified and shown on drawings.
Black Steel Pipes
1 | 50mm diameter | 11 | m |  |  |  | 0
2 | 100mm diameter | 25 | m |  |  |  | 0
FITTINGS
This should include all accessories required for effective pipe
connection, not limited to bends, tees, reducers, union,brackets
| clips, sockets etc, by studying the site consideration | 1 | Lots
3 | Fire Hose Reel Cabinet | 3 | Nr |  |  |  | 0
4 | 50mm Isolating Valve | 4 | Nr |  |  |  | 0
2 | PORTABLE FIRE EXTINGUISHERS |  |  | ANGUS
Portable Fire Extinguisher complete with
mounting bracket and other accessories.
i | Fire blanket | 2 | Nr |  |  |  | 0
ii | 5Kg Co2 Fire Extinguisher | 8 | Nr |  |  |  | 0
iii | 6Kg Dry Chemical Powder Extinguisher | 6 | Nr |  |  |  | 0
| TOTAL TO SUMMARY | [5 empty] | 0

## EXTERNAL
PROJECT NAME: PROPOSED CLUB HOUSE FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
BILL OF QUANTITIES: Water Supply System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
G | EXTERNAL PIPING WORKS
A | DOMESTIC COLD WATER SUPPLY
Supply, install and test the following pipes including fixing of
manifolds systems, accessories pipes, hangers, support and pipe
fittings complete as specified on the drawings.
| Polypropylene Pipe Random Copolymer Pipe (PPR) - All pipe |  |  | ONUR PLASTIC
diameter refers to are internal diameter.
PIPES
1 | 40mm | 82 | m |  |  |  | 0
0
2 | 32mm | 120 | m |  |  |  | 0
3 | 25mm | 54 | m |  |  |  | 0
0
FITTINGS
This should include all accessories required for effective pipe
connection, not limited to bends, tees, reducers, union,brackets
| clips, sockets etc, by studying the drawings. | 1 | Lots | ONUR PLASTIC
4 | 20mm Isolating Valve | 6 | Nr | ONUR PLASTIC |  |  | 0
5 | 25mm Isolating Valve | 3 | Nr | ONUR PLASTIC |  |  | 0
6 | 20mm Bib Tap | 4 | Nr | ONUR PLASTIC |  |  | 0
7 | Glass Reinforced plastic (GRP) overhead Water Storage Tank | 1 | Nr |  |  |  | 0
complete with inlet, drain, overflow connection point, backnuts and
other installation accessories.
Capacity: 6,000Litres
Dimension : 3mL x 2mW x 1mH
8 | Polyethylene (PE) overhead Water Storage Tank | 3 | Nr
complete with inlet, drain, overflow connection point, backnuts and
Capacity: 2,000Litres
Dimension : Dia: 1.3, Height; 1.74
9 | Booster pump with pressure switch, control panel and other installation | 1 | Nr | Wilo |  |  | 0
accessories necessary for effective installation and commissioning
by the OEM.
Operation: Duty
| Capacity: 3m3/hr at 1bar | [5 empty] | 0
B | SOIL AND WASTE PIPEWORK INSTALLATION
| UPVC and Polythene pipes and fittings to BS-EN 1329 and 1401. |  |  | WAVIN, REHAU,
Cost to include for supports and fixing.
PIPES
1 | 150mm | 300 | m |  |  |  | 0
2 | 110mm | 56 | m |  |  |  | 0
3 | FITTINGS
This should include all accessories required for effective pipe
connection, not limited to bends, tees, reducers, union,brackets
| clips, sockets etc, by studying the drawings. | 1 | Lots | WAVIN, REHAU,
C | FIRE HYDRANT SYSTEM
1 | Mild Steel hose box suitable for storing 2 Nos hoses and 1 No Stainless | 3 | Nr | Angus |  |  | 0
Steel branch pipe, hose boxes shall be made of Fire Resistant Paint and
duly painted with two coats of Fire red colour from outsied and whole
from inside with locking arrangement and front glass with 4mm thick glass
complete and size should be stranded.
2 | Supply 63mm Dia. RRL type fire hoses with female and male SS | 5 | Nr |  |  |  | 0
coupling.
3 | Fire Hydrant station, 2-Way each 63mm diameter, with 80mm Non | 6 | Nr |  |  |  | 0
Return Valve and 150mm Isolation butterfly valve of PN 16.
D | FIRE PIPES
Supply and install Pipe for fire fighting system black steel seamless
Pipe standard weight with grooved-emd ( for larger than DN50) or
threaded fittings and accessories, installed exposed or in shafts,
schedule 40. Including all kind of supports and hangers all as specified
as shown on drawings.
1 | 100mm black steel pipe (schedule 40) | 15 | m |  |  |  | 0
2 | 150mm black steel pipe (schedule 40) | 110 | m |  |  |  | 0
3 | Installation accessories including, elbows, tees, flanges, gaskets, nuts,
| bolts, washers, coupling, nipples, hume pipe, reducers, etc required for | 1 | Lot
proper testing and commissioning. Drawings to be studied by the vendor
E | PORTATBLE FIRE EXTINGUISHER |  |  | Angus
Portable Fire Extinguisher complete with mounting bracket and other
accessories.
1 | 6Kg Dry Chemical Powder Extinguisher | 1 |  |  |  |  | 0
0
1 | 25Kg trolley Dry Chemical Powder Extinguisher | 1 |  |  |  |  | 0
| TOTAL TO SUMMARY | [5 empty] | 0

## GAS SYSTEM
PROJECT NAME: PROPOSED CLUB HOUSE FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
BILL OF QUANTITIES: Gas System
[5 empty] | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | MAKE & CAT REF | DELIVERED | FIXED | AMOUNT
[5 empty] | =N= | =N= | =N=
H | GAS SYSTEM
1 | Supply and install gas canisters, Pipe for LPG system with reference the DPR
regulations with NFPA and other applicable codes, installed at a cross
ventilated area, including all kind of supports and hangers as specified and
shown on drawings.
2 | 100Kg Gas canisters | 3 | Nr |  |  |  | 0
2 | Gas leakage detectors with automatic shut-off valve | 2 | Nr |  |  |  | 0
4 | Two-way manifold system with guage. | 1 | Nr |  |  |  | 0
5 | Copper Pipes
| Type K and L copper (ASTM B 88) and ACR (ASTM B 280) with | 12 | m |  |  |  | 0
malleable PVC sleeves at the point of going through the screed in traffic
prone zones.
6 | Installation accessories and required fittings necessary for commissioning | 1 | Lot
| TOTAL TO SUMMARY | [5 empty] | 0

## DIESEL
PROJECT NAME: PROPOSED CLUB HOUSE FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
BILL OF QUANTITIES: Diesel Oil System
|  |  |  | RATE | RATE | TOTAL
ITEM | DESCRIPTION | QTY | UNIT | DELIVERED | FIXED | AMOUNT
|  |  |  | =N= | =N= | =N=
I | DIESEL SYSTEM
A | Supply and installation of black steel seamless schedule 40 pipe according to
BS1387, BS3601 and API 5L distribution network including all fittings, spouts,
joints, connection hangers, supports, clips, anchors and the likes, complete as
specified and shown on the drawings.
Black Steel Pipes
1 | 25mm diameter. | 20 | m |  |  | 0
2 | 32mm diameter. | 35 | m |  |  | 0
3 | 63mm diameter. | 30 | m |  |  | 0
4 | Installation accessories including bolts, nuts, and other installation accessories | 1 | Lot
required for effective commissioning.
B | Supply and install 6mm black steel seamless duty fuel tanks including all
fittings level indicator, level sensor connected to control panel fuel pumps and
with supports as specified and shown on drawings.
| Daily fuel tank for generators (Capacity = 1500Liters) | 1 | Nr |  |  | 0
| TOTAL TO SUMMARY |  |  |  |  | 0

## PROVISIONAL SUM
PROJECT NAME: PROPOSED CLUB HOUSE
FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
BILL OF QUANTITIES: Provisional Sums
J | PROVISIONAL SUMS
IEPM (CONSULTANTS)
A | Integrated Waste Treatment Plant (IWTP) | =N= | 15000000
B | Elevator | =N= | N/A
C | Dumbwaiter | =N= | N/A
D | Installation of an overflow pool at a turn over | =N= | N/A
rate of 6hours, equipment not limited to the
following:
i | Filtration system with multiport valves
ii | Centrifugal pumps
iii | Sterilization system
iv | Inlet nozzles
v | Vacuum fittings
vi | Pool ladder
vii | Underwater light (rope light - LED strip)
viii | All required vacuum kit
ix | Pool brush, algae brush, vacuum floating hose
x | Water quality test kit
| TOTAL TO MAIN SUMMARY | =N= | 15000000

## SUMMARY
PROJECT NAME: PROPOSED CLUB HOUSE
FOR TOTAL E&P NIGERIA STAFF MULTIPURPOSE COOPERATIVE SOCIETY LIMITED
LOCATION : AT PLOT 8, WATER CORPORATION DRIVE, ONIRU (V/I EXTENSION), LAGOS.
Mechanical and Piping Tender Summary
Item | Description | Total Cost
No. |  | (Naira)
Summary
A | HVAC System - | 0
B | Sanitary and Appliances - | 0
C | Water System - | 0
D | Drainage System - | 0
E | Fire Fighting System | 0
F | External Works | 0
G | Gas System | 0
H | Diesel Oil Storeage | 0
J | Provisional Sum | 15000000
| Sub Total | 15000000
| To GENERAL SUMMARY OF CIVIL WORKS BOQ | 15000000