## General Summary
Item | Description | Qty | Unit | Rate | Amount
GENERAL SUMMARY
A | PRELIMINARIES |  |  |  | 0
B | PILING WORKS |  |  |  | 0
C | MAIN BUILDING |  |  |  | 0
D | ELECTRICAL INSTALLATIONS (carried from elect. Bill)
E | MECHANICAL & PLUMBING INSTALLATIONS (carried from elect. Bill)
F | EXTERNAL WORKS |  |  |  | 0
G | SPORT FACILITIES
1 | 7 ASIDE FOOTBALL PITCH |  |  |  | 0
2 | 3-LANE RUNNING TRACK |  |  |  | 0
3 | VOLLEYBALL COURT |  |  |  | 0
4 | BASKETBALL COURT |  |  |  | 0
5 | LAWN TENNIS |  |  |  | 0
G | PRIME COST/ PROVISIONAL SUMS/CLIENT ITEMS
1 | SWIMMING POOL |  |  |  | 40000000
2 | BLEACHERS |  |  |  | 10000000
3 | PETANQUE |  |  |  | 1000000
4 | TOILET CUBICLES |  |  |  | 12350000
| Subtotal 1 |  |  |  | 63350000
| Add: Contingency |  | 5% |  | 3167500
| Subtotal 2 |  |  |  | 66517500
| Add: VAT |  | 7.5% |  | 4988812.5
| TOTAL COST OF CONSTRUCTION CARRIED TO FORM OF TENDER |  |  | N | 71506312.5

## Preliminaries
BILL NR 1: PRELIMINARIES AND GENERAL CLAUSES
| PROJECT PARTICULARS | c
P1 | THE PROJECT: Development of TUCN Staff Clubhouse, Oniru, Lagos
NAMES OF PARTIES
P2 | THE EMPLOYER (CLIENT):
TEPNG Staff Multipurpose Coop. Society Ltd.
Total E&P Nigeria Ltd, Eko Towers, Office 2R25, Plot 1415-E, Adetokunbo Ademola, Victoria Island, Lagos, Nigeria
P3 | THE ARCHITECTS:
Reinvent Design Studios
H112, Close 44, Victoria Garden City,
Lekki, Lagos
P4 | THE QUANTITY SURVEYORS:
TEPNG Staff Multipurpose Coop. Society Ltd.
Total E&P Nigeria Ltd, Eko Towers, Office 2R25, Plot 1415-E, Adetokunbo Ademola, Victoria Island, Lagos, Nigeria
P5 | THE STRUCTURAL/CIVIL ENGINEERS:
Kimberly-Fischer & Parker Engineering Consulting Limited
70c, Allen Avenue,
Ikeja Phase,
Lagos.
ELECTRICAL AND MECHANICAL ENGINEERS
P6 | Integral Engineers and Project Managers
No. 7, Adetoro Adelaja Street,
Magodo G.R.A Phase 2,
Lagos.
Site Location
P7 | The site is located at Plot 8, Trinity Avenue, Oniru, Victoria Island, Lagos.
P8 | The Contractor is deemed to have visited the site located as shown above, inspected
and made himself thoroughly and completely informed as to the conditions of the site in its
present state, the nature of the building and the full extent and character of the Works exec
-cuted means of access and storage space, protection and safety precautions, the conditio
-ns effecting the supply of labour, availability and suplly of water, telephone and eletricity
and the like. No claim for extra payment above the Contract Sum will be entertained from the
Contractor for want of knowledge of any conditions affecting the executions of the works.
| To collection | =N= | 0
Bill of Quantities
P8 | The pricing, moneying out and totalling of these Bills of Quantities is to be in INK
throughout and is to be in Nigerian Currency. The Contractor is deemed to have
included in his tender for the obligations and requirements of the Bills of Quantities
whether or not he has priced all the items therein.
The contractor shall not alter the text of these Bills of Quantities.The prices or rates inserted shall be fully inclusive value of the works described under several items including all costs and expenses which shall be required in and for the execution of the works.
Drawings
P9 | All drawings, tracings, photoprints, etc, must be returned to the Employer's Representative upon completion of the Works.
The Contractor shall check the whole of the dimensions on site and if any discrepancy is found between the drawings and conditions on site, he shall notify the Architect/Employer's Representative immediately and request instructions
P10 | The Contractor shall allow here for keeping one complete set of all drawings in a suitable filing system, keeping them and replacing faded sets on site throughout the contract period. Drawings are to be in a suitable form of the Contract. Additional sets may be provided to the Contractor at the cost of printing and delivery.
P11 | The Contractor is to give 14 days notice in writing to the Employer's Representative with regard to instructions or clarification of details, drawings and the like.
Licenses
P12 | The Contractor shall make all arrangements for the issue of any licenses, permits, etc,
required for the execution of the Works as far as the supply of labour and materials are
concerned and to obtain necessary permits and complete and lodge all forms which
may be required all at his own expense and he is deemed to have made due allowance
therefore in his tender.
Site Accommodation
P13 | Allow for providing suitable weatherproof and secure office accommodation on site for
the person-in-charge and other site staff and include for providing necessary furniture and
lighting and clearing away on completion.
P14 | Allow for providing suitable office accommodation of about 15m2 to the Architect's approval, for the Employer's Consultants and Clerk of Works on site also for furniture, drafting table and chair, drafting machine, lighting, 2hp air conditioner, fan, sanitary facilities, etc. The accommodation shall be maintained throughout the contract period. Temporary drainage shall be maintained in good condition, and the whole shall be cleared away and the Site made good on completion.
| To collection | =N= | 0
Storage/Temporary Buildings
P15 | Allow for providing and maintaining all necessary temporary buildings for storage and protection of goods and materials on site and other work that may be brought to or executed on the site, including the tools and materials of Sub-Contractors, and remove on completion. Sheds for the storage of cement shall be constructed to be humidity/water proof.
P16 | No part of the works shall be used for storage of materials or Contractor's accommodation without the Employers's Representative/Architect's prior approval.
P17 | Location proposals for all temporary buildings shall be submitted to the Architect for approval prior to construction.
P18 | Allow for providing temporary huts for watchmen and for storage of materials complete with lighting and necessary furniture and clear away on completion.
Setting Out
P19 | The Contractor shall be responsible for the accurate setting out of the works including
works undertaken by the Sub-Contractors and is to include for providing all pegs,
templates, instruments and labour necessary for so doing. The Employer's Representative
shall be allowed the free use of the instruments and labour as he may require.
Electricity
P20 | Allow for providing all temporary lighting and power for the works including that for use by sub-Contractors, paying all fees and charges and providing all necessary temporary mains and/or temporary generators and clearing away and making good at completion.
Water
P21 | Allow for providing all water required for the Works including that for Sub-Contractors. The water is to be clean fresh water free from injurious oils, chemicals, vegetable matter or organic or other impurities.
Watching and Lighting
P22 | Allow for providing all necessary guards, day and night watchmen and lighting for the protection of the works and the safety of the public.
Hoardings and Barriers
P23 | Allow for providing all gantries, hoardings, guard rails, barriers, or any other form of special protection to all sides of the buildings and site as necessary to protect adjoining property, persons, animals, vehicles, and the like from injury, and remove when no longer required or when instructed by the Employers's Representative/Architect and make good any damage.
| To collection | =N= | 0
Time and Progress
P24 | The Contractor shall arrange for his representative to attend site meetings as and when reasonably required by the Employers's Representative/Architect's and shall provide all necessary facilities including a well furnished room for such meetings.
P25 | The Contractor's attention is drawn to his responsibility for detailed co-ordination of all work undertaken by Sub-Contractors to ensure that all systems and services are properly integrated with one another and with the detail of the building. The Contractor shall employ a competent person to perform this function and to ensure that installation drawings are fully co-ordinated before submission to the Architect for comment. The Contractor is required to arrange suitable programme with his Sub-Contractors and to check regularly that such programmes are adhered to.
P26 | The Contractor’s attention is drawn to his responsibility for the co-ordination and programming of sub-contractor’s work. The Contractor is expected to arrange suitable programmes with his sub-contractors and to check regularly that such programmes are adhered to. Where delay arise in connection with sub-contract works the Contractor will be expected to have been aware of such at an early stage and to have taken the appropriate action defined in the sub-contract document by the giving of such notices as may be required in preparation for the determination of same. Determination shall not be effected without the prior consent of the Architect/S. O. but requests for extensions of the contract period on the grounds of delay by sub-contractors will not be considered unless the Contractor can established requirements.
Materials Found on Site
P27 | Any sand, laterite, gravel or other building materials discovered on the site shall be the property of the Employer and shall not be used in the construction of the works without prior written consent of the Employer's Representative. The market price of the materials so used shall be allowed to the Employer by the Contractor and the Contract Sum adjusted accordingly.
Progress Photographs
P28 | The Contractor shall allow in his tender for five sets each of colour progress photographs
to be delivered to the Architect or his appointed representative; the intervals, numbers and
sizes of the photographs being as directed by the Architect. The Contractor shall also
provide for one set of colour progress photographs to be pasted on a notice board, also to
be provided by the Contractor, located in the Consultants' Site Office, and under which
shall each be placed on inscription showing the date and location of each photograph.
Existing Installations
May be deducted as aforesaid. If the work has not been covered up in contravention of such instructions and be found in accordance with the said drawing, etc., them the expenses aforesaid shall be borne by the Employer and be added to the Contract Sum
| To collection | =N= | 0
Opening Up
P29 | The Contractor shall, at the request of the Employers's Representative/Architect, open up for inspection any work covered up, and should the Contractor refuse or fail to comply with such request, the Architect may employ other workmen to open up same. If the said work has been covered up in contravention of the Architect's instructions and if on being opened up it be found not in accordance with the drawings or instructions of the Architect, the expenses of opening up and covering up again, whether done by the Contractor or other workmen, shall be borne by or be recoverable from the Contractor and may be deducted from the Contract Sum. If the work is found to be in accordance with the said drawings, etc., then the expenses aforesaid shall be borne by the Employer and be added to the Contract Sum.
Prevention of Nuisance, Trespass etc
P30 | Allow for taking all necessary precautions with regard to the order and method of
execution of the work to avoid causing disturbance or nuisance to the users and
occupiers of existing buildings and premises adjacent to the works and for complying
with any directions of the Architect in this respect.
P31 | Private or Public property outside the site shall not be encroached upon for
the purpose of dumping materials, opening pits, making roads or ditches or any other
purpose.
P32 | The Contractor shall prevent any trespass by his workmen and Sub-Contractor's
employees on the adjoining owner's property.
P33 | The Contractor shall provide for taking reasonable precautions to prevent the spread of
dust from site building operations to adjacent structures in any existing buildings.
P34 | The Contractor shall erect dust screens, keep the works damp and clear away
rubble etc, as it accumulates and shall warn the Architect of any particular
dust hazards before he starts any work in question.
P35 | In dry season he must prevent the road surface from becoming dusty and must
control the speed of all vehicles using the site and approach roads. The observance
of this clause by the Contractor may be vital to the safety of the public accordingly.
P36 | At all times the Contractor shall consider the working of the existing buildings
on and within the close vicinity of the Site and must keep noise to a minimum.
P38 | All mechanical equipment must be fittted with sound reducing appliances wherever
practicable and electrically powered where the choice permits.
P39 | The Contractor must discuss his proposals regarding the use of noisy plant such as
compressor, drills vibrators, saws etc, with the Architect in order that the use of these
may not unduly affect the occupants of adjoining buildings. Advance warning of
operations likely to cause abnormal noise should be given in order that the Employer
can make arrangements accordingly.
| To collection | =N= | 0
Delays
P40 | The Contractor will be deemed to have made an allowance for any delay caused by
difficulty in obtaining labour and materials, or by suspension of part or the whole of the
work due to adverse weather conditions normally encountered during the seasons of the
year. No claim for extension of time for delay caused by the rejection of bad
workmanship or materials by the Architect will be entertained.
Provisional Sums
P41 | The term "Provisional Sums" in the Bills of Quantities indicates a sum of money allowed
to cover the cost of a portion of the Works, the extent or nature of which is not known at
the time of preparing the Bills of Quantities, or which cannot be determined accurately
until the Works are executed.
P42 | Provisional Sums shall be expended solely as directed by the Employer's Representative and may be deducted in whole or in part if not required.
Work executed against Provisional Sums shall be measured and valued in accordance
with the Conditions of Contract with the exception that the cost of materials falling
within the scope of Prime Cost Sums elsewhere in the Bills of Quantities will be offset against
P43 | those P.C. Sums. The Employer's Representative may issue instructions administering
Provisional Sums as Prime Cost Sums and the Contractor's entitlement shall be limited to 3%
Attendance and profit only
The Employer reserves the right to omit any Prime Cost Sums or Provisional Sum from the Contract and no claim for loss of profit arising from such omission will be entertained
The Employer reserves the right to supply and pay for direct any items covered in this Contract by P. C or Provisional Sums
Prime Cost Sums
The following items in connection with prime cost sums are in addition to the Contractor’s obligations described elsewhere (for example, provision of scaffolding, etc.)
Where the Contractor is required to ‘Fix Only’ materials supplied by Nominated Suppliers or others, the rates inserted in the Bills of Quantities are to allow for taking delivery, unloading on the site, handling, checking, stacking, storing and protecting until required, assembling as necessary and getting into position before fixing
Where the term ‘attendance’ or ‘attend upon’ is used in the Bills of Quantities in) connection with Nominated Sub-Contractor’s work, or work executed by others, the Contractor shall allow for the use of standing scaffolding, canteens, sanitary accommodation, office accommodation, space for storage of plant and materials and for providing light and water and clearing away rubbish and for taking delivery of all materials when received on the site, unloading, handling, stacking or storing until required and hoisting into position. The Contractor shall allow for affording the maximum co-operation in arranging that builder’s work is carried out, as far as possible to suit the convenience of the sub-contractors. The Contractor shall obtain from the sub-contractors their requirements for recesses, chases, holes and the like so that these may be formed correctly as the work proceeds, No extra charge will be allowed for cutting chases, holes, etc. out of proper sequence
| To collection | =N= | 0
Advance Payment Bond
P44 | An Advance Payment bond shall be required drawn on a reputable bank, to be approved by
the Employer, to indemnify the Employer against any default on the part of the Main
Contractor or Sub-Contractors. The Contractor is deemed to have included herein, the
cost of furnishing the said Bond to the reasonable satisfaction of the Employer.
Access for Workmen
P45 | The Contractor shall at all times give access to workmen employed by the Employer or by local or other authorities or any other parties and use of proper, sufficient, and if required, special scaffolding, hoists and ladders and provide them with water and lighting, etc
Tests and Samples
Allow for carrying out tests of any materials, either before or after use in the Works and for providing samples of all materials and specimens of colours for approval as required by the Architects/S. O. before use or application in the Works
Covering Up
No work shall be covered up until it has been examined and approved by The Employer's Representative /Architect
In the case of work executed against provisional quantities in the Bills of Quantities (and therefore subject to measurement) the Contractor shall notify the Quantity Surveyor before proceeding to cover up the Works
Personal Protective Equipment
P46 | The contractor is deemed to provide for the sole use of those acting on behalf of the Employer, in sizes to be specified: Safety helmets to BS EN 397, neither damaged nor time expired. Number required: 10. High visibility waistcoats to BS EN 471 Class 2. Number required 10. Safety boots with steel insole and toe cap to BS EN ISO 20345. Pairs required: 10 Pairs of various sizes.
Record/As-Built Drawings
P47 | Record drawings of the civil/structural, as built and other specialist services installation and operational manual will be produced as (i) 2 sets of Cd's, (ii) 3 sets of Hard copy by the Sub-Contractor or Main Contractors as applicable and handed directly to the Employer's Representative in no less than two weeks prior to project completion.
| To collection | =N= | 0
COLLECTION
Page Nr 1/ 1
Page Nr 1/ 2
Page Nr 1/ 3
Page Nr 1/ 4
Page Nr 1/ 5
Page Nr 1/ 6
Page Nr 1/ 7
Page Nr 1/ 8
PRELIMINARIES AND GENERAL CLAUSES
| CARRIED TO GENERAL SUMMARY | =N= | 0

## Piling
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PILING WORKS
Mobilization
A | Allow for mobilisation to site, all relevant equipment, personnel and materials necessary for the execution of the piling works |  | sum
Site Preparation
B | Set out pile locations from Client's reference points and position and erect rig ready for installation. Including moving between pile locations on same site. | 85 | nr |  | 0
Piling Works
C | Drill by rotary Boring method using benthonite 450mm diameter pile to depth not exceeding 14.0m below the ground level including supply and place concrete and reinforment of 6Y16, 10mm stirrup @ 150cc | 1190 | m |  | 0
Pile Load Test
D | Allow for setting up of test frame, kentledge, hydraulic hack, and instruction. Carrying out 2No vertical compression test to 1.5 x SWL, and removal or relocation within the same bridge site on completion, including documentatio of test analysis report | 2 | nr |  | 0
E | Pile integrity test (PIT) on all piles; including documentation of test analysis report | 85 | nr |  | 0
Demobilization
F | Allow for demobilisation from site, all relevant equipment, personnel and materials upon completion of the piling works |  | sum
| To collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PILING Cont'd
D30: CAST IN PLACE CONCRETE PILING
Bored piles; plain in-situ concrete; B.S.5328, designed mix C35, 20 aggregate, minimum cement content 290 kg/m3
Cutting off tops of piles; including preparation and integration of reinforcement into pile cap or ground beam and disposal
A | 450mm diameter; trimmed level 1000 deep | 85 | nr |  | 0
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Plain in-situ concrete; mix 1:10, 20 aggregate; as blinding
Pile cap; poured on or against earth or unblinded hardcore
B | generally | 3 | nr |  | 0
Reinforced in-situ concrete; B.S.5328, designed mix C30, 20 aggregate, minimum cement content 360 kg/m³; vibrated
Pile caps
C | thickness 700mm thick | 38 | m³ |  | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Sides of pile caps ; plain vertical
D | height not exceeding 1.00m | 140 | m² |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
C | 10 - 25mm diameter; ground beam | 5.7 | t |  | 0
| To collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PILING Cont'd
(ALL PROVISIONAL)
Collections
| Page No. 1 |  |  |  | 0
| Page No. 2 |  |  |  | 0
PILING
| TO GENERAL SUMMARY |  |  |  | 0

## Main Building
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE
(ALL PROVISIONAL)
PREAMBLES
General Information
Dimensions in descriptions:
Tenderers are to note that all dimensions in the descriptions are in millimetres unless otherwise stated
GROUNDWORK
D20: EXCAVATING AND FILLING
Excavating
To remove topsoil
A | average 150mm deep | 666 | m² |  | 0
For ground beams
B | maximum depth not exceeding 2.00m | 385 | m³ |  | 0
Earthwork support
C | maximum depth not exceeding 2.00m; distance between opposing faces not exceeding 2.00m
|  | 459 | m² |  | rate only
Disposal of excavated material
D | depositing on site in temporary spoil heaps located at contractor's discretion | 128 | m³ |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE Cont'd
GROUNDWORK Cont'd
D20: EXCAVATING AND FILLING Cont'd
Selected excavated material obtained from on site spoil heaps
Filling to excavations
A | average thickness exceeding 0.25m | 257 | m³ |  | 0
Sand to be obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness; provisional
B | average thickness exceeding 0.25m | 727.32 | m³ |  | 0
Hardcore filling obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness; broken blocks or other approved materials; provisional
C | average thickness exceeding 0.25m | 191.4 | m³ |  | 0
Surface treatments
D | Applying "Dieldrex 20" anti-termite solution to sides and bottom of trench excavations
|  | 793 | m² |  | 0
E | compacting and levelling bottom of trench excavations to receive concrete blinding
|  | 88 | m² |  | 0
Allow a Provisional Sum of N10,000.00 (Ten Thousand Naira Only) each for keeping foundation / excavation free of :
F | Surface water |  | item
G | Ground water |  | item
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE Cont'd
IN - SITU CONCRETE/ LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Plain in-situ concrete; mix 1:8, all in aggregate; as blinding
Foundations poured on or against earth or unblinded hardcore; ground beam and slab
A | generally | 4 | m³ |  | 0
Reinforced in-situ concrete; B.S.5328, designed mix C30, 20 aggregate, minimum cement content 360 kg/m³; vibrated
Ground beams
B | generally | 56 | m³ |  | 0
Slabs
C | thickness 150-450 ground slab | 133 | m³ |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE Cont'd
Concrete Work cont'd
Steps, ramps
A | generally | 15 | m³ |  | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Sides of ground beams ; plain vertical
B | height exceeding 1.00m | 488 | m² |  | 0
Edges of beds; plain vertical
C | height not exceeding 200m | 118 | m |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
D | 10 - 25mm diameter; ground beam | 5.6 | t |  | 0
E | 10 - 25mm diameter; slab | 13.3 | t |  | 0
F | 16 diameter; steps, ramps | 1.5 | t |  | 0
SURFACE FINISHES
J: WATERPROOFING
J40: FLEXIBLE SHEET TANKING/DAMP PROOFING
Polythene sheeting, vapour barrier; Visqueen 1000 gauge; 150mm welted lapped joints from approved manufacturer
G | Laid on blinded hardcore, work subsequently covered | 666 | m² |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
(ALL PROVISIONAL)
P.C. SUMS/PROVISIONAL SUMS/DAYWORKS
A54: PROVISIONAL WORK
Include the following Provisional Sums:-
For undefined work
A | additional work to substructures; the sum of N 200,000.00 (Two Hundred Thousand Naira Only) |  | sum
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE Cont'd
(ALL PROVISIONAL)
Collections
| Page No. 1 |  |  |  | 0
| Page No. 2 |  |  |  | 0
| Page No. 3 |  |  |  | 0
| Page No. 4 |  |  |  | 0
| Page No. 5 |  |  |  | 0
SUBSTRUCTURE
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
FRAME
IN - SITU CONCRETE/ LARGE PRECAST CONCRETE
Reinforced in-situ concrete; B.S.5328, designed mix C30, 20 aggregate, minimum cement content 360 kg/m³; vibrated
Beams
A | attached deep | 76 | m³ | 0 | 0
Columns
B | generally | 19 | m³ | 0 | 0
Lift Shafts
C | generally | 50 | m³ | 0 | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Sides of beam; plain vertical
D | generally | 640 | m² | 0 | 0
Columns;
E | regular shaped; rectangular | 269 | m² | 0 | 0
Lift Shafts
F | regular shaped; rectangular | 401 | m² | 0 | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
E | 10 - 25mm diameter; beams | 11.4 | t | 0 | 0
F | 10 - 25mm diameter; columns | 2.85 | t | 0 | 0
F | 10 - 25mm diameter; Lift Shaft | 7.5 | t | 0 | 0
FRAMES
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
UPPER FLOORS
IN - SITU CONCRETE/ LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Reinforced in-situ concrete; B.S.5328, designed mix C30, 20 aggregate, minimum cement content 330 kg/m³; vibrated
Slabs; ground floor
A | thickness not exceeding 150 | 191 | m³ | 0 | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Edges of suspended slabs; plain vertical
B | height not exceeding 150 | 307 | m | 0 | 0
Soffits of slabs; horizontal
C | slab thickness not exceeding 200; height to soffit 3.00 - 4.50m | 1275 | m² | 0 | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
D | 10 - 25mm diameter | 28.65 | t | 0 | 0
J40: FLEXIBLE SHEET TANKING/DAMP PROOFING
Apply two coats of polyurethane waterproofing liquid membrane(Conseal 250) on concrete slab screeded over with smooth sand cement mix,obtainable from
E | Waterproofing membrane to wet areas; second floor slab | 439 | m² |  | 0
F | Ditto; shower cubicles | 30 | m² |  | 0
UPPER FLOORS
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ROOF
IN - SITU CONCRETE/ LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Reinforced in-situ concrete; B.S.5328, designed mix C25, 20 aggregate, minimum cement content 330 kg/m³; vibrated
Slab; Roof
A | generally | 32 | m³ | 0 | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Edges of suspended slabs; plain vertical
B
| height not exceeding 150 | 109 | m | 0 | 0
C
Soffits of slabs; horizontal
| slab thickness not exceeding 200; height to soffit 3.00 - 4.50m | 210 | m² | 0 | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
D | 10 - 25mm diameter; roof slab | 4.8 | t | 0 | 0
HOLLOW CLAY BLOCKS
E | Hollow clay block floor slab comprising 450 x 225 x 225mm deep and including 100 wide reinforced in situ concrete mix C25 intermediate ribs complete with 75mm thick reinforced concrete topping (all inclusive) | 0 | m² |  | rate only
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
WATERPROOFING
J: WATERPROOFING
J40: Flexible sheet tanking/damp proofing
3 layers built - up bituminous felt; 3mm thick overall with 2 coats reflective aluminium paint decoration on cement and sand bed
A | Linning to roof wall and slab | 142 | m² |  | 0
LINEAR CHANNEL DRAIN
B | 300mm x 150mm polypropylene storm drain channel laid on concrete bed; roof top deck | 48 | m |  | 0
PERGOLA
C | Pergola made with timber strips at intervals including timber columns for support fixed to base with associated fittings according to Architect's details | 39 | m² |  | 0
ENTRANCE CANOPY
Overhead entrance canopy complete with 6mm thick acrylic/perspex glass supported by corossive resistant stainless steel brackets fixed to blockwork (see drawings for details)
D | Overall size; 5312mm wide x 2015mm length ; at Clubhouse Main entrance | 1 | nr |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SURFACE FINISHES Cont'd
| To Collection |  |  |  | 0
Collection
| Page No. 9 |  |  |  | 0
| Page No. 10 |  |  |  | 0
| Page No. 11 |  |  |  | 0
ROOF
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
STAIRS
IN - SITU CONCRETE/ LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Reinforced in-situ concrete; B.S.5328, designed mix C25, 20 aggregate, minimum cement content 330 kg/m³; vibrated
Staircases
A | generally | 6 | m³ | 0 | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Soffits of landings; horizontal
B | slab thickness not exceeding 200; height to soffit 1.50 - 3.00m | 21 | m² | 0 | 0
Stairflights; 1200wide; 250thick waist; 150 risers
C | strings 300mm wide; | 25 | m |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
D | 10 - 25mm diameter | 0.9 | t | 0 | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
STAIRS Cont'd
SURFACE FINISHES
INFORMATION
Nature and class of work and quality of grouting material
The work in this section comprises selected and tonalised first choice tiles and slabs with equal calibration.
All tiling work; M40: Stone/Quarry/Ceramic and Marble shall be as described above and care must be taken in laying and fixing to approved pattern and grouted with approved quality imported grouting material.
The client reserves the right to supply all tiles and materials; M40: Stone/Quarry/Ceramic and Marble. Notwithstanding the provisions made anywhere in the contract, all materials supplied by the client shall exclude all installation accessories and materials such as grout etc. wherever supplies are made by the client, the PC rate inserted in the description for such work shall be used to adjust the contract sum. No claims for any extra expenses including collection, transportation to site and or offsite, storage, double handling etc. by the contractor would be entertained. The contractor should include all additional cost in his rates as if such material were procured by him.
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
STAIRS Cont'd
SURFACE FINISHES Cont'd
M10: SAND CEMENT/CONCRETE/ SCREEDS/TOPPINGS
Mortar, cement and sand (1:4)
42mm work to floors on concrete base; one coat; screeded; landing
A | level and to falls only not exceeding 15 degrees from horizontal | 22 | m² |  | 0
20mm work to treads on concrete base
B | width 300 | 87 | m |  | 0
15mm work to plain risers on concrete base
C | height 150 | 87 | m |  | 0
Mortar, cement and sand (1:3)
15mm work to strings on brickwork or blockwork base; keyed
D | height 300 | 24 | m |  | 0
M20: PLASTERED/RENDERED/ROUGHCAST COATINGS
Mortar, cement and sand (1:3); steel trowelled
12 work to ceilings on brickwork or blockwork base
E | width exceeding 300; soffits of landing | 22 | m² |  | 0
F | width exceeding 300; soffit of stairs | 29 | m² |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
STAIRS Cont'd
SURFACE FINISHES Cont'd
M20: PLASTERED/RENDERED/ROUGHCAST COATINGS Cont'd
Skim coat of pop (gypsum) powder mixed with white emulsion paint plaster (approved mix); steel trowelled and sanded smooth on completion.
6mm work to walls on cement and sand base; strings
A | width exceeding 300 | 7.2 | m² |  | 0
6mm work to ceilings on cement and sand base; landing and soffit of stairs
B | width exceeding 300 | 51 | m² |  | 0
M40: STONE/CONCRETE/QUARRY/CERAMIC TILING/MARBLE
Marble floor tiles, B.S. 6431, glazed, obtainable from CDK Integrated Industries LTD or other equal and approved manufacturer, first choice; 6 joints, symmetrical layout; bedding in 10 cement mortar (1:3); pointing in matching coloured
600 x 600 x 20 units to floors on cement and sand base; to falls and crossfalls and to slopes not exceeding 15 degrees from horizontal; landing.
C | plain | 22 | m² |  | 0
D | extra for skirtings curved on one edge 100 high | 30 | m |  | 0
0
E | 300mm wide; threads | 87 | m |  | 0
0
F | 180mm wide; risers | 87 | m |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
STAIRS Cont'd
SURFACE FINISHES Cont'd
M60: PAINTING/CLEAR FINISHING
Mist coat, two full coats of emulsion paint as manufactured by Berger Paint or equal and approved.
Cement rendered general surfaces; strings
A | girth exceeding 300 | 7.2 | m² |  | 0
Cement rendered general surfaces; soffit of landing and stairs
B | girth exceeding 300 | 51 | m² |  | 0
STRUCTURAL / CARCASSING METAL/TIMBER
L30: STAIRS/WALKWAYS/BALUSTRADES
High quality stainless steel tubular handrail, Grade 304 with 40mm Diameter, 38mm diameter tubular vertical support and 20mm diameter tubular midrails at regular intervals
C | Staircases; 1050mm overall height | 27 | m |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Collections
| Page No.12 |  |  |  | 0
Page No.13
| Page No.14 |  |  |  | 0
| Page No.15 |  |  |  | 0
| Page No.16 |  |  |  | 0
STAIRS
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
EXTERNAL WALLS
F: MANSORY
F10: BRICK/BLOCK WALLING
Sandcrete blocks, hollow, approved manufacturer 440 × 225, compressive strength not less than 7.0 N/mm², standard finish; keyed both edges in cement-sand mortar (1:4); flush smooth pointing as work proceeds
Walls
A | 230mm thick; stretcher bond | 883 | m² |  | 0
B | 150mm thick; stretcher bond | 25 | m² |  | 0
EXTERNAL WALLS
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
WINDOWS AND EXTERNAL DOORS
E: IN-SITU CONCRETE/LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Reinforced in-situ concrete; B.S.5328, designed mix C25, 20 aggregate, minimum cement content 290 kg/m³; vibrated
Lintels
A | generally | 5 | m³ | 0 | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish; Lintels; sides and soffit
B | regular shaped; rectangular; height to soffit 1.50 - 3.00m | 60 | m² | 0 | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
C | 10-12 diameter | 0.5 | t | 0 | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
WINDOWS AND EXTERNAL DOORS Cont'd
L: WINDOWS/DOORS/STAIRS
L10: WINDOWS/ROOFLIGHTS/SCREENS/LOUVRES
Powder Coated Aluminium frame with 6mm thick grey tinted glass; fixed to hollow section steel 40mm x 20mm subframe bedding in blockwork / concrete wall. (refer to window schedule for classes of windows)
A | Size 600 x 600mm high | 2 | nr |  | 0
B | Size 600 x 2800mm high | 6 | nr |  | 0
C | Size 1300 x 600mm high | 7 | nr |  | 0
D | Size 2600 x 600mm high | 3 | nr |  | 0
E | Size 2800 x 600mm high | 2 | nr |  | 0
F | Size 3600 x 2000mm high | 3 | nr |  | 0
G | Size 3800 x 600mm high | 2 | nr |  | 0
H | Size 600 x 1800mm high | 2 | nr |  | 0
J | Size 4600 x 2000mm high | 3 | nr |  | 0
K | Size 2100 x 2800mm high | 3 | nr |  | 0
L | Size 2708 x 2800mm high | 2 | nr |  | 0
Frameless Curtain Wall with fixed and projecting panes; 10mm thick laminated clear glass; Obtainable from reputable manufacturer.
M | 10 - 15mm thick; 10304mm high, Stair lift hall | 84 | m² |  | 0
N | 10 - 15mm thick; 5525mm high, Gym | 56 | m² |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
L20: DOORS/SHUTTERS/HATCHES
Preamble
All timber doors in this section shall be high quality imported Anigre veneered flush or panel door with matching grains as per sample approved by the client. All doors shall have a minimum of 1/2hr fire resistance and shall be factory finished including all necessary lining, architraves, ironmongery and shall be factory finished. The tender should peruse the door schedule included in this tender and allow for all requirements and accessories stated therein including 1.5 pair 100mm aluminium hinges with washers for each door. The rates for doors shall include all item stated above.
SECURITY DOORS
Supply and install approved Security Door with reinforced opaque door frames complete with 250mm x 300mm see through glazed pane Architraves, door stoppers, adjustable door closers (Refer to door schedule)
A | Single leaf, single swing, Overall size; 900 x 2400mm high | 4 | nr |  | 0
B | Double leaf, double swing, Overall size; 1500 x 2400mm high | 2 | nr |  | 0
ALUMINIUM SLIDING DOORS
Powder coated 5mm thick aluminium framed motorized sliding door with 10mm thick burglar resistant/toughened glass; complete with necessary fittings and accessories
0
C | Size 2700 x 2400mm high, reception & clinic | 2 | nr |  | 0
D | Size 3000 x 2400mm high, main entrance | 2 | nr |  | 0
ALUMINIUM GRILL DOORS
Powder coated 5mm thick aluminium framed double leaf louvered door; Obtainable from
E | Size 3200 x 2400mm high | 1 | nr |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Collections
| Page No. 19 |  |  |  | 0
| Page No. 20 |  |  |  | 0
| Page No. 21 |  |  |  | 0
WINDOWS AND EXTERNAL DOORS
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
INTERNAL WALLS AND PARTITIONS
F: MANSORY
F10: BRICK/BLOCK WALLING
Sandcrete blocks, hollow, approved manufacturer 440 × 225, compressive strength not less than 7.0 N/mm², standard finish; keyed both edges in cement-sand mortar (1:4); flush smooth pointing as work proceeds
Walls
A | 225mm thick | 780 | m² |  | 0
B | 100mm thick | 24 | m² |  | 0
INTERNAL WALLS AND PARTITIONS
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
INTERNAL DOORS
E: IN-SITU CONCRETE/LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Reinforced in-situ concrete; B.S.5328, designed mix C25, 20 aggregate, minimum cement content 290 kg/m³; vibrated
Lintels
A | generally | 4 | m³ | 0 | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Lintels; sides and soffit
B | regular shaped; rectangular; height to soffit 1.50 - 3.00m | 55 | m² | 0 | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
C | 10 - 25 diameter | 0.4 | t | 0 | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
INTERNAL DOORS Cont'd
L: WINDOWS/DOORS/STAIRS
L20: DOORS/SHUTTERS/HATCHES
Preamble
All timber doors in this section shall be high quality imported Anigre veneered flush or panel door with matching grains as per sample approved by the client. All doors shall have a minimum of 1/2hr fire resistance and shall be factory finished including all necessary lining, architraves, ironmongery and shall be factory finished. The tender should peruse the door schedule included in this tender and allow for all requirements and accessories stated therein including 1.5 pair 100mm aluminium hinges with washers for each door. The rates for doors shall include all item stated above.
50mm thick high quality solid single leaf hardwood solid core ,timber flush door covered on both sides with 6mm thick HDF plywood lipped on all edges with hardwood complete with full frame,architave and satin finish chrome ironmongery
A | Single leaf, single swing; size 900 x 2400 x 50mm thick | 24 | nr |  | 0
B | Single leaf, double swing; size 900 x 2400 x 50mm thick | 2 | nr |  | 0
50mm thick high quality solid double leaf hardwood solid core ,timber flush door covered on both sides with 6mm thick HDF plywood lipped on all edges with hardwood complete with full frame,architave and satin finish chrome ironmongery
C | Double leaf single swing, size 1800 x 2400 x 50mm thick | 2 | nr |  | 0
D | Double leaf double swing, size 1500 x 2400 x 50mm thick | 4 | nr |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
INTERNAL DOORS Cont'd
Collections
| Page No. 24 |  |  |  | 0
| Page No. 25 |  |  |  | 0
INTERNAL DOORS
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
FITTINGS AND FIXTURES
N10: GENERAL FIXTURES/FURNISHINGS/ EQUIPMENT
P.C. SUMS/PROVISIONAL SUMS/DAYWORKS
Counter-tops
A | Allow a provisional sum of N 3,000,000.00 (Three Million Naira Only) for construction of bar and toilet counter tops ,in accordance to the Project Architect and Structural Engineer's design details. |  | Sum
Pool Table
B | Supply and fix Easi-8 pool table, complete with all necessary fittings and accessories ;obtainable from EASI-8 Design & Manufacturing Nigeria Ltd (+2348030883787), No. 58 Adeola Street Karaole Estate off College Road Lagos or approved manufacturer (PC: 750,000/unit) | 1 | Nr |  | 0
Table Tennis
C | Supply and fix Stiga action roller water resistant tennis table (Blue colour),complete with all necessary fittings and accessories ;obtainable fromPragmatos Empire (+2348055281992) NO.3, Amosu St, Off Community Road Igando, Lagos or approved manufacturer (PC:200,000/unit) | 1 | Nr |  | 0
FITTINGS AND FIXTURES
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
WALL FINISHES
M: SURFACE FINISHES
M20: PLASTERED/RENDERED/ROUGHCAST COATINGS
Mortar, cement and sand (1:3); steel trowelled
15 work to walls on brickwork or blockwork base
A | width exceeding 300mm (externally) | 883 | m² |  | 0
B | width not exceeding 300 | 100 | m |  | 0
C | width exceeding 300mm (internally) | 2491 | m² |  | 0
D | width not exceeding 300 | 100 | m |  | 0
Skim coat of pop (gypsum) powder mixed with white emulsion paint plaster (approved mix); steel trowelled and sanded smooth on completion
4 work to walls on cement and sand base
E | width exceeding 300mm (externally) | 883 | m² |  | 0
F | width exceeding 300mm (internally) | 1821 | m² |  | 0
G | width not exceeding 300 | 200 | m |  | 0
M40: STONE/CONCRETE/QUARRY/CERAMIC TILING/MOSAIC
Ceramic tiles, approved manufacturer, semi-glazed; 2 joints, symmetrical layout; fixing with manufacturers recommended adhesive, grouting with matching coloured grout
200 x 200 x 6 units to walls on sand and cement base.
H | plain, width exceeding 300mm; toilets | 563 | m² |  | 0
J | width not exceeding 300 | 50 | m |  | 0
K | ditto; kitchen | 107 | m² |  | 0
L | width not exceeding 300 | 15 | m |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
WALL FINISHES Cont'd
M40: STONE/CONCRETE/QUARRY/CERAMIC TILING/MOSAIC
M40: STONE/CONCRETE/QUARRY/CERAMIC TILING/MOSAIC
M60: PAINTING/CLEAR FINISHING
Prepare, Prime and apply two coats of Dulux satin/silk paint
on rendered general surfaces
A | girth exceeding 300mm (externally) | 883 | m² |  | 0
B | width not exceeding 300 | 100 | m |  | 0
Prepare, Prime and apply two coats of Dulux weathershield paint
on rendered general surfaces
C | girth exceeding 300mm (internally) | 1821 | m² |  | 0
D | width not exceeding 300 | 100 | m |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Collections
| Page No. 28 |  |  |  | 0
| Page No. 29 |  |  |  | 0
WALL FINISHES
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
FLOOR FINISHES
M: SURFACE FINISHES
M10: SAND CEMENT/CONCRETE/ SCREEDS/TOPPINGS
Mortar, cement and sand (1:4)
40 work to floors on concrete base; one coat; screeded; level and to falls only not exceeding 15 degrees from horizontal
A | exceeding 300mm; Internally | 1196 | m² |  | 0
B | not exceeding 300mm; steps; threads | 30 | m |  | 0
C | not exceeding 150mm; steps; risers | 30 | m |  | 0
D | not exceeding 100mm; skirting | 640 | m |  | 0
M40: STONE/CONCRETE/QUARRY/CERAMIC TILING/MOSAIC
Porcelain floor tiles, B.S. 6431, glazed, obtainable from CDK Integrated Industries LTD or other equal and approved manufacturer, first choice; 6 joints, symmetrical layout; bedding in 10 cement mortar (1:3); pointing in matching coloured
600 x 600 x 10 units to floors on cement and sand base; level to falls only not exceeding 15 degrees from horizontal;
E | plain; generally | 1032 | m² |  | 0
F | extra for skirtings; 100mm high | 640 | m |  | 0
Grade A Non-Slip Vitrified floor tiles;obtainable from CDK Integrated Industries LTD or other equal and approved manufacturer, laid to an approved pattern; bedded in cement and sand mortar (1:3) including grouting with matching cement
300 x 300 x 10 units to floors on cement and sand base; level to falls only not exceeding 15 degrees from horizontal;
G | plain; at kitchen, visitors toilet, toilets, | 164 | m² | 0 | 0
| to collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
M: SURFACE FINISHES
M40: STONE/CONCRETE/QUARRY/CERAMIC TILING/MOSAIC
M10: SAND CEMENT/CONCRETE/ SCREEDS/TOPPINGS
Mortar, cement and sand (1:4)
40 work to floors on concrete base; one coat; screeded; level and to falls only not exceeding 15 degrees from horizontal
A | exceeding 300mm; externally; at roof slab, verandahs | 488 | m² |  | 0
B | not exceeding 100mm; skirting | 63 | m |  | 0
Grade A Non-Slip Vitrified floor tiles;obtainable from CDK Integrated Industries LTD or other equal and approved manufacturer, first choice; 6 joints, symmetrical layout; bedding in 10 cement mortar (1:3); pointing in matching coloured
C | Plain; externally; at roof slab, verandahs | 488 | m² |  | 0
D | extra for skirtings; 100mm high | 63 | m |  | 0
| to collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Collections
| Page No. 31 |  |  |  | 0
| Page No. 32 |  |  |  | 0
FLOOR FINISHES
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
CEILING FINISHES
K40: DEMOUNTABLE SUSPENDED CEILINGS
12.5mm thick Gypsum Plaster board; laying in position in galvanised steel grid on galvanised wire hangers; with approved feature cornices inclusive of Skim coat of pop (gypsum) powder mixed with white emulsion paint plaster obtained from approved manufacturer
Ceilings; fixing hangers at 600 centres both ways to masonry
A | suspension 150 - 500 deep; generally | 1300 | m² |  | 0
SURFACE FINISHES
M20: PLASTERED/RENDERED/ROUGHCAST COATINGS
Mortar, cement and sand (1:3); steel trowelled
12 work to ceilings on concrete base
B | width exceeding 300; ground floor | 68 | m² |  | 0
Skim coat of pop (gypsum) powder mixed with white emulsion paint plaster (approved mix); steel trowelled and sanded smooth on completion
3 work to ceilings on cement and sand base
C | width exceeding 300; | 68 | m² |  | 0
M60: PAINTING/CLEAR FINISHING
Prepare, Prime and apply two coats of Dulux emulsion silk paint
General surfaces; celings
E | girth exceeding 300 | 1368 | m² |  | 0
CEILING FINISHES
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
BUILDERS WORK
P.C. SUMS/ PROVISIONAL SUMS/DAYWORKS
For undefined work
A | Allow the provisionl sum of N 500,000.00 (One Million Naira Only) for builders works in connection with all mechanical and electrical installation |  | Sum
BUILDERS WORK
| TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
MAIN SUMMARY
1 | Substructures |  |  |  | 0
2 | Frame |  |  |  | 0
3 | Upper Floor |  |  |  | 0
4 | Roof |  |  |  | 0
5 | Stairs |  |  |  | 0
6 | External Walls |  |  |  | 0
7 | Windows and external doors |  |  |  | 0
8 | Internal walls and partitions |  |  |  | 0
9 | Internal doors |  |  |  | 0
10 | Fittings and Fixtures |  |  |  | 0
11 | Wall finishes |  |  |  | 0
12 | Floor finishes |  |  |  | 0
13 | Ceiling finishes |  |  |  | 0
14 | Builders works |  |  |  | 0
MAIN BUILDING SUMMARY |  |  |  |  | 0

## External Works
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
General Information
The contractor is advised to examine the Engineering drawings required for this work
The contractor is advised to visit the site and acqaint himself on the existing conditions
All materials arising form demolition/alterations remains the clients property and are to be stored for reuse
Plants
Allow for bringing to site and removing from site
All plant required for the works
Allow for maintaning on site
C20 DEMOLITION
Demolishing parts of structures
A | Carefully remove existing interlocking paving stones; cart away and deposit on site in heaps for reuse | 2300 | m² |  | 0
DRIVE WAYS; CAR PARK; PAVED AREA; WALK WAYS; AND KERBS
D20 EXCAVATION AND FILLING
B | Bed of approved imported sharp sand filling spread, leveled and well compacted with 10 ton roller compacted in 300mm layers to make up levels around site (provisional) | 0 | m³ |  | rate only
Q24: INTERLOCKING PAVINGS
Precast concrete paving flags, B.S.7263, natural finish; symmetrical layout;
C | 400 x 400 x 60mm thick concrete units to walkways; laid on compacted soil | 1650 | nr |  | 0
| Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
DRIVE WAYS; CAR PARK; PAVED AREA; WALK WAYS; AND KERBS
Q10: KERBS
Precast concrete; standard or stock pattern units; B.S.7263; bedding, jointing and pointing in cement mortar (1:3); on plain in-situ concrete foundation; B.S.5328 ordinary prescribed mix C20P, 20mm aggregate including necessary excavation
A | 150 x 450mm fair faced concrete kerbs laid on concrete bed | 515 | m |  | 0
M60: PAINTING/CLEAR FINISHING
Prepare and apply one mist coat and two full coats Gloss finish paint to be obtained from DULUX PAINTS on:
Kerbs;
B | Isolated surfaces, girth not exceeding 300mm | 515 | m |  | 0
| Collection |  |  |  | 0
COLLECTION
| Page No. 1 |  |  |  | 0
| Page No. 2 |  |  |  | 0
DRIVE WAYS; CAR PARK; PAVED AREA
| CARRIED TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
MANHOLES
Manholes; Construction of reinforced concrete manholes varied dimension, capped with 75mm thick precast concrete cover slab size, with 12mm diameter high tensile bars at 100 centre both way, benching with 150 half round channel and rendering inside of the manhole in cement and mortar (1:3) including all necessary excavation, disposal, formwork reinforcement and others.
A | Size 300 x 300 x 450mm deep | 15 | nr |  | 0
B | Ditto 600 x 600 x 600mm deep | 10 | nr |  | 0
MANHOLES
| CARRIED TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SEPTIC TANK/SEWAGE TREATMENT PLANT
A54: PROVISIONAL WORK
A | Allow the provisional sum of N 10,000,000.00 (Ten Million Naira Only) for the construction of septic tank in accordance to the Architect and Structural Engineer's detail design |  | Sum
SEPTIC TANK
| CARRIED TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
FENCEWORK
SUBSTRUCTURE
(ALL PROVISIONAL)
C20 DEMOLITION
Demolishing parts of structures
A | Carefully remove existing 225mm hollow blockwork; cart away and deposit on site in heaps for reuse; | 522 | m² |  | 0
GROUNDWORK
D20: EXCAVATING AND FILLING
Excavating
For ground beams
B | maximum depth not exceeding 1.00m | 95 | m³ |  | 0
Disposal of excavated material
C | depositing on site in temporary spoil heaps located at contractor's discretion | 32 | m³ |  | 0
Filling to excavations
D | Selected excavated material obtained from on site spoil heaps; average thickness exceeding 0.25m | 63 | m³ |  | 0
Surface treatments
E | Applying "Dieldrex 20" anti-termite solution to sides and bottom of trench excavations | 491 | m² |  | 0
F | compacting and levelling bottom of trench excavations to receive concrete blinding | 211 | m² |  | 0
| Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE Cont'd
IN - SITU CONCRETE/ LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Plain in-situ concrete; mix 1:8, all in aggregate; as blinding
Foundations poured on or against earth or unblinded hardcore; ground beam and slab
A | generally | 4 | m³ |  | 0
Reinforced in-situ concrete; B.S.5328, designed mix C30, 20 aggregate, minimum cement content 360 kg/m³; vibrated
Ground beams
B | generally | 32 | m³ |  | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Sides of ground beams ; plain vertical
C | height exceeding 1.00m | 280 | m² |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
D | 10 - 25mm diameter; ground beam | 4.8 | t |  | 0
| Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Q40 FENCING
PANEL MESH FENCE
Panel Mesh fencing with 2.70 overall fence height, 50 x 200m size aperture with 3V bends chain link fabricated in approved colour, 75mm powder coated terminal and intermediate posts, All fence fittings vinyl coated colour to match. Kit to include 900mm x 1200mm wide pedestrian gate; gate to have welded frames and lockable latches
A | Panel mesh; 3.5m high; 75mm diameter x 2500mm high terminal post. | 282 | m |  | 0
CHAIN LINK FENCE
Tennis court fencing kit with 3.00 overall fence height, 18 x 36m size chain link fence, top and bottom horizontal rail 50mm diameter with mid rails. 75mm vinyl coated terminal post, coner and gate post, 65mm vinyl coated line post, intermediate post , 9 guage vinyl extruded chain link fabrick in approved colour. All fence fittings vinyl coated colour to match. Kit to include 2100mm x 1200mm wide pedestrian gate; gate to have welded frames and lockable latches windscreen to be provided for fence;
B | Fencing; chain-link; 3.5m high; 75mm diameter x 2500mm high terminal post. | 147 | m |  | 0
| Collection |  |  |  | 0
COLLECTION
| Page No. 5 |  |  |  | 0
| Page No. 6 |  |  |  | 0
| Page No. 7 |  |  |  | 0
FENCE WORK
| CARRIED TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUMMARY PAGE
A | DRIVEWAY; CAR PARK;PAVED AREA;WALKWAY AND KERBS |  |  |  | 0
B | MANHOLES |  |  |  | 0
C | SEPTIC TANK |  |  |  | 0
D | FENCE WORK |  |  |  | 0
EXTERNAL WORKS
| CARRIED TO GENERAL SUMMARY |  |  |  | 0

## 7 Aside Football
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE
General Information
Tenderers are to note that all dimensions in the descriptions are in millimetres unless otherwise stated
The contractor is advised to examine the Engineering drawings required for this work
The contractor is advised to visit the site and acqaint himself on the existing conditions
All materials arising form demolition/alterations remains the clients property and are to be stored for reuse
C20 DEMOLITION
Demolishing parts of structures
Carefully remove existing interlocking paving stones; cart away and deposit on site in heaps for reuse
A | 400 x 400 x 60mm thick , precast interlocking paving stones | 2250 | m² |  | 0
D20: EXCAVATING AND FILLING
Excavating
To remove topsoil
B | average 300mm deep | 2025 | m² |  | 0
Surface Treatment
| Levelling and Compaction of ground surface to receive sharp sand, etc., by wetting and compacting with passes of a 1 ton vibratory roller. | 2025 | m² |  | 0
C | Disposal
Allow a provisional sum of N20,000.00 (Ten Thousand Naira Only) each for keeping foundation / excavation free of :
D | Surface water & Ground water |  | item
| Carried to collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Sand filling obtained off site
Sharp sand Filling to make up levels; depositing in layers 250 maximum thickness; provisional
A | average thickness exceeding 0.25m | 101.25 | m³ |  | 0
Hardcore filling obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness and compacted; Crushed granite or other approved hardcore materials; provisional
B | average thickness exceeding 0.25m | 303.75 | m³ |  | 0
Sub base filling obtained off site
Sub-base to be filled and compacted with gravels (7 to 9.5mm) and fine aggregates to be sloped and levelled to a slope between 0.8 – 1%
C | average thickness exceeding 0.25m | 303.75 | m³ |  | 0
Perforated Pipe Drain
D | Perforated HDPE drainage pipe on compacted sub-grade for prevention of flooding on the soccer pitch | 0 | m |  | rate only
Geotextile Membrane
E | Geotextile membrane laid between sub-base and compacted sub-grade for prevention of flooding on the soccer pitch | 2025 | m2 |  | 0
Q10: KERBS
Precast concrete; standard or stock pattern units; B.S.7263; bedding, jointing and pointing in cement mortar (1:3); on plain in-situ concrete foundation; B.S.5328 ordinary prescribed mix C20P, 20mm aggregate including necessary excavation
H | 150 x 300 x 600mm fair faced concrete kerbs laid on concrete bed | 184 | m |  | 0
| Substructure carried to collection |  |  |  | 0
ITEM | D E S C R I P T I O N | QTY | UNIT | UNIT RATE | AMOUNT
M: SURFACE FINISHES
SOCCER PITCH FINISHINGS
A | Supply and install approved soccer artificial grass (green) on compacted sand bedding; seam tapes, turf glue and lining material | 1975 | m2 |  | 0
B | Marking of soccer turf with white lines and installation with seam tapes | 50 | m2 |  | 0
C | Installation of Size 3.66m x 1.83m soccer goal post,complete with a 2.5mm net, 'U' peg anchors, net retaining clips and carry bag with zip and corner flags | 2 | nr |  | 0
| Surface Finishes carried to collection |  |  |  | 0
SUMMARY
| SUBSTRUCTURE |  |  |  | 0
| SURFACE FINISHES |  |  |  | 0
| 7-ASIDE SOCCER PITCH CARRIED TO GENERAL SUMMARY |  |  |  | 0

## Lawn Tennis Court
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE
General Information
Tenderers are to note that all dimensions in the descriptions are in millimetres unless otherwise stated
The contractor is advised to examine the Engineering drawings required for this work
The contractor is advised to visit the site and acqaint himself on the existing conditions
All materials arising form demolition/alterations remains the clients property and are to be stored for reuse
C20 DEMOLITION
Demolishing parts of structures
Carefully remove existing interlocking paving stones; cart away and deposit on site in heaps for reuse
A | 400 x 400 x 60mm thick , precast interlocking paving stones | 442 | m² |  | 0
D20: EXCAVATING AND FILLING
Excavating
To remove topsoil
B | average 150mm deep | 442 | m² |  | 0
Surface Treatment
| Levelling and Compaction of ground surface to receive sharp sand, etc., by wetting and compacting with passes of a 1 ton vibratory roller. | 442 | m² |  | 0
Allow a PS of N20,000.00 (Ten Thousand Naira Only) each for keeping foundation / excavation free of :
D | Surface water & Ground water |  | item
| Carried to collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Sand filling obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness; provisional
A | average thickness exceeding 0.25m | 22.1 | m³ |  | 0
Hardcore filling obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness; broken blocks or other approved hardcore materials; provisional
B | average thickness exceeding 0.25m | 66.3 | m³ |  | 0
Sub base filling obtained off site
Sub-base to be filled and compacted with gravels (7 to 9.5mm) and fine aggregates to be sloped and levelled to a slope between 0.8 – 1%
C | average thickness exceeding 0.25m | 66.3 | m³ |  | 0
Perforated Pipe Drain
D | Perforated HDPE drainage pipe on compacted sub-grade for prevention of flooding on the court | 0 | m |  | rate only
Geotextile Membrane
E | Geotextile membrane laid between sub-base and compacted sub-grade for prevention of flooding on the court | 442 | m2 |  | 0
| Carried to collection |  |  |  | 0
ITEM | D E S C R I P T I O N | QTY | UNIT | UNIT RATE | AMOUNT
IN - SITU CONCRETE/ LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Reinforced in-situ concrete; B.S.5328, designed mix C30, 20 aggregate, minimum cement content 360 kg/m³; vibrated
A | Lawn tennis pitch; 100mm thick | 44.2 | m3 |  | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Edges of beds; plain vertical
B | height not exceeding 200mm | 91 | m² |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
C | 10 - 25mm diameter; concrete slab | 4.42 | t |  | 0
| Carried to collection |  |  |  | 0
COLLECTION
| Page No 1 |  |  |  | 0
| Page No 2 |  |  |  | 0
| Substructure carried to collection |  |  |  | 0
ITEM | D E S C R I P T I O N | QTY | UNIT | UNIT RATE | AMOUNT
M: SURFACE FINISHES
LAWN TENNIS COURT FINISHINGS
A | Surface preparation of cement surface for application of some type of tennis coating | 442 | m2 |  | 0
B | Construction of joints and sealing off existing surface cracks as required for outdoor lawn tennis court | 442 | m2 |  | 0
C | Application of 2 layers of elastic acrylic coating with aggregates in approved colour complete with white line markings | 442 | m2 |  | 0
D | Installation of tennis court nets |  | sum
| Surface Finishes carried to collection |  |  |  | 0
SUMMARY
| SUBSTRUCTURE |  |  |  | 0
| SURFACE FINISHES |  |  |  | 0
| LAWN TENNIS COURT CARRIED TO GENERAL SUMMARY |  |  |  | 0

## BBall Court
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE
General Information
Tenderers are to note that all dimensions in the descriptions are in millimetres unless otherwise stated
The contractor is advised to examine the Engineering drawings required for this work
The contractor is advised to visit the site and acqaint himself on the existing conditions
All materials arising form demolition/alterations remains the clients property and are to be stored for reuse
C20 DEMOLITION
Demolishing parts of structures
Carefully remove existing interlocking paving stones; cart away and deposit on site in heaps for reuse
A | 400 x 400 x 60mm thick , precast interlocking paving stones | 628 | m² |  | 0
D20: EXCAVATING AND FILLING
Excavating
To remove topsoil
B | average 150mm deep | 628 | m² |  | 0
Surface Treatment
C | Levelling and Compaction of ground surface to receive sharp sand, etc., by wetting and compacting with passes of a 1 ton vibratory roller. | 628 | m³ |  | 0
Disposal
Allow a provisional sum of N20,000.00 (Ten Thousand Naira Only) each for keeping foundation / excavation free of :
D | Surface water & Ground water |  | item
| Carried to collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Sand filling obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness; provisional
A | average thickness exceeding 0.25m | 31.4 | m³ |  | 0
Hardcore filling obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness; broken blocks or other approved hardcore materials; provisional
B | average thickness exceeding 0.25m | 94.2 | m³ |  | 0
Sub base filling obtained off site
Sub-base to be filled and compacted with gravels (7 to 9.5mm) and fine aggregates to be sloped and levelled to a slope between 0.8 – 1%
C | average thickness exceeding 0.25m | 94.2 | m2 |  | 0
Perforated Pipe Drain
D | Perforated HDPE drainage pipe on compacted sub-grade for prevention of flooding on the court | 0 | m |  | rate only
Geotextile Membrane
E | Geotextile membrane laid between sub-base and compacted sub-grade for prevention of flooding on the court | 628 | m2 |  | 0
| Carried to collection |  |  |  | 0
ITEM | D E S C R I P T I O N | QTY | UNIT | UNIT RATE | AMOUNT
IN - SITU CONCRETE/ LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Reinforced in-situ concrete; B.S.5328, designed mix C30, 20 aggregate, minimum cement content 360 kg/m³; vibrated
A | Basketball pitch; 100mm thick | 62.8 | m3 |  | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Edges of beds; plain vertical
B | height not exceeding 200mm | 86 | m² |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
C | 10 - 25mm diameter; concrete slab | 6.908 | t |  | 0
| Carried to collection |  |  |  | 0
COLLECTION
| Page No 1 |  |  |  | 0
| Page No 2 |  |  |  | 0
| Substructure carried to collection |  |  |  | 0
ITEM | D E S C R I P T I O N | QTY | UNIT | UNIT RATE | AMOUNT
M: SURFACE FINISHES
BASKETBALL COURT FINISHINGS
A | Surface preparation of cement surface for application of some type of tennis coating | 628 | m2 |  | 0
B | Construction of Joints and sealing off existing surface cracks as required for basket ball court | 628 | m2 |  | 0
C | Application of elastic acrylic coating with aggregates in approved colour complete with white line markings | 628 | m2 |  | 0
D | Supply and installation of standard outdoor basketball hoops complete with tempered glass and acrylic board with arena-style padding, heavy-duty breakaway rim steel frame with adjustable height (Webber) fixed to concrete flooring with all necessary fittings and accessories | 2 | nr |  | 0
| Surface Finishes carried to collection |  |  |  | 0
SUMMARY
| SUBSTRUCTURE |  |  |  | 0
| SURFACE FINISHES |  |  |  | 0
| BASKETBALL COURT CARRIED TO GENERAL SUMMARY |  |  |  | 0

## VollyBall Court
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE
General Information
Tenderers are to note that all dimensions in the descriptions are in millimetres unless otherwise stated
The contractor is advised to examine the Engineering drawings required for this work
The contractor is advised to visit the site and acqaint himself on the existing conditions
All materials arising form demolition/alterations remains the clients property and are to be stored for reuse
C20 DEMOLITION
Demolishing parts of structures
Carefully remove existing interlocking paving stones; cart away and deposit on site in heaps for reuse
A | 400 x 400 x 60mm thick , precast interlocking paving stones | 363 | m² |  | 0
D20: EXCAVATING AND FILLING
Excavating
To remove topsoil
B | average 150mm deep | 363 | m² |  | 0
Surface Treatment
C | Levelling and Compaction of ground surface to receive sharp sand, etc., by wetting and compacting with passes of a 1 ton vibratory roller. | 363 | m² |  | 0
Disposal
Allow a provisional sum of N20,000.00 (Ten Thousand Naira Only) each for keeping foundation / excavation free of :
D | Surface water & Ground water |  | item
| Carried to collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Sand filling obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness; provisional
A | average thickness exceeding 0.25m | 18.15 | m³ |  | 0
Hardcore filling obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness; broken blocks or other approved hardcore materials; provisional
B | average thickness exceeding 0.25m | 54.45 | m³ |  | 0
Sub base filling obtained off site
Sub-base to be filled and compacted with gravels (7 to 9.5mm) and fine aggregates to be sloped and levelled to a slope between 0.8 – 1%
C | average thickness exceeding 0.25m | 54.45 | m2 |  | 0
Perforated Pipe Drain
D | Perforated HDPE drainage pipe on compacted sub-grade for prevention of flooding on the court | 0 | m |  | rate only
Geotextile Membrane
E | Geotextile membrane laid between sub-base and compacted sub-grade for prevention of flooding on the court | 363 | m2 |  | 0
| Carried to collection |  |  |  | 0
ITEM | D E S C R I P T I O N | QTY | UNIT | UNIT RATE | AMOUNT
IN - SITU CONCRETE/ LARGE PRECAST CONCRETE
E10: MIXING/CASTING/CURING/IN-SITU CONCRETE
Reinforced in-situ concrete; B.S.5328, designed mix C30, 20 aggregate, minimum cement content 360 kg/m³; vibrated
A | Lawn tennis pitch; 100mm thick | 36.3 | m3 |  | 0
E20: FORMWORK FOR IN-SITU CONCRETE
Formwork and basic finish
Edges of beds; plain vertical
B | height not exceeding 200mm | 78 | m² |  | 0
E30: REINFORCEMENT FOR IN-SITU CONCRETE
Reinforcement bars; B.S.4449, hot rolled deformed high yield steel
Straight / bent
C | 10 - 25mm diameter; concrete slab | 3.63 | t |  | 0
| Carried to collection |  |  |  | 0
COLLECTION
| Page No 1 |  |  |  | 0
| Page No 2 |  |  |  | 0
| SUBSTRUCTURE CARRIED TO SUMMARY |  |  |  | 0
ITEM | D E S C R I P T I O N | QTY | UNIT | UNIT RATE | AMOUNT
M: SURFACE FINISHES
VOLLEYBALL COURT FINISHINGS
A | Surface preparation of cement surface for application of some type of tennis coating | 363 | m2 |  | 0
B | Construction of Joints and sealing off existing surface cracks as required for basket ball court | 363 | m2 |  | 0
C | Application of elastic acrylic coating with aggregates in approved colour complete with white line markings | 363 | m2 |  | 0
D | Supply and installation of standard regulation 4inch mesh volleyball net of dimension 10m x 1m, complete with adjustable telescopic volley ball post, courtline weaving tape, ground pegs, 6mm braided ropes | 1 | nr |  | 0
| SURFACE FINISHES CARRIED TO SUMMARY |  |  |  | 0
SUMMARY
| SUBSTRUCTURE |  |  |  | 0
| SURFACE FINISHES |  |  |  | 0
| VOLLEYBALL COURT CARRIED TO GENERAL SUMMARY |  |  |  | 0

## 6 Lane Track
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE
General Information
Tenderers are to note that all dimensions in the descriptions are in millimetres unless otherwise stated
The contractor is advised to examine the Engineering drawings required for this work
The contractor is advised to visit the site and acqaint himself on the existing conditions
All materials arising form demolition/alterations remains the clients property and are to be stored for reuse
C20 DEMOLITION
Demolishing parts of structures
Carefully remove existing interlocking paving stones; cart away and deposit on site in heaps for reuse
A | 400 x 400 x 60mm thick , precast interlocking paving stones | 464 | m² |  | 0
D20: EXCAVATING AND FILLING
Excavating
To remove topsoil
B | average 300mm deep | 464 | m² |  | 0
Surface Treatment
| Levelling and Compaction of ground surface to receive sharp sand, etc., by wetting and compacting with passes of a 1 ton vibratory roller. | 464 | m² |  | 0
C | Disposal
Allow a provisional sum of N20,000.00 (Ten Thousand Naira Only) each for keeping foundation / excavation free of :
D | Surface water & Ground water |  | item
| Carried to collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Sand filling obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness; provisional
A | average thickness exceeding 0.25m | 23.2 | m³ |  | 0
Hardcore filling obtained off site
Filling to make up levels; depositing in layers 250 maximum thickness and compacted; Crushed granite or other approved hardcore materials; provisional
B | average thickness exceeding 0.25m | 69.6 | m³ |  | 0
Subbase filling obtained off site
Sub-base to be filled and compacted with gravels (7 to 9.5mm) and fine aggregates to be sloped and levelled to a slope between 0.8 – 1%
C | average thickness exceeding 0.25m | 69.6 | m2 |  | 0
Perforated Pipe Drain
D | Perforated HDPE drainage pipe on compacted sub-grade for prevention of flooding on the soccer pitch | 0 | m |  | rate only
Geotextile Membrane
E | Geotextile membrane laid between sub-base and compacted sub-grade for prevention of flooding on the soccer pitch | 464 | m2 |  | 0
Q10: KERBS
Precast concrete; standard or stock pattern units; B.S.7263; bedding, jointing and pointing in cement mortar (1:3); on plain in-situ concrete foundation; B.S.5328 ordinary prescribed mix C20P, 20mm aggregate including necessary excavation
F | 150 x 300 x 600mm fair faced concrete kerbs laid on concrete bed | 136 | m |  | 0
| Substructure carried to collection |  |  |  | 0
ITEM | D E S C R I P T I O N | QTY | UNIT | UNIT RATE | AMOUNT
M: SURFACE FINISHES
SOCCER PITCH FINISHINGS
A | Supply and install approved running track artificial grass (red) on compacted sand bedding; seam tapes, turf glue and lining material | 370 | m2 |  | 0
B | Marking of running track with white lines and installation with seam tapes | 93 | m2 |  | 0
| Surface Finishes carried to collection |  |  |  | 0
SUMMARY
| SUBSTRUCTURE |  |  |  | 0
| SURFACE FINISHES |  |  |  | 0
| 6-LANE RUNNING TRACK CARRIED TO GENERAL SUMMARY |  |  |  | 0

## Pool
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SWIMMING POOL
P.C. SUMS/ PROVISIONAL SUMS/DAYWORKS
A51: NOMINATED SUBCONTRACTOR INCLUDE THE FOLLOWING PRIME COST SUMS FOR WORK EXECUTED COMPLETE:
For defined work
A | Allow the prime cost sum of N 40,000,000.00 (Forty Million Naira Only) to be transferred from sub-contractors tender |  | Sum |  | 40000000
SWIMMING POOL
| CARRIED TO GENERAL SUMMARY |  |  |  | 40000000

## Bleachers
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SPORT BLEACHERS
P.C. SUMS/ PROVISIONAL SUMS/DAYWORKS
A51: NOMINATED SUBCONTRACTOR INCLUDE THE FOLLOWING PRIME COST SUMS FOR WORK EXECUTED COMPLETE:
For defined work
A | Allow the prime cost sum of N 10,000,000.00 (Ten Million Naira Only) to be transferred from sub-contractors tender |  | Sum |  | 10000000
LIFT INSTALLATION
| CARRIED TO GENERAL SUMMARY |  |  |  | 10000000

## WET CUBICLES
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
WET TOILET CUBICLES
P.C. SUMS/ PROVISIONAL SUMS/DAYWORKS
A51: NOMINATED SUBCONTRACTOR INCLUDE THE FOLLOWING PRIME COST SUMS FOR WORK EXECUTED COMPLETE:
For defined work
A | Allow the P.C Sum of N 12,350,000.00 (Twelve Million, Three Hundred and Fifty Thousand Naira Only) for supply and installation of anti- bacterial, high impact and moisture resistant cubicle system and other fixing accessories for the lower, bottom and upper installation at 2100mm overall height inclusive of high grade stainless steel adjustable footing to be obtained from Gebit Investment Limited, Plot 298, Oshodi/Oworonshoki Expressway, Beside RCCG Master's Place, Gbagada, Lagos, Nigeria Tel: +234 818 561 3002, +234 805 998 0431 or approved equal |  | Sum |  | 12350000
WET TOILET CUBICLES
| CARRIED TO GENERAL SUMMARY |  |  |  | 12350000

## Basic Prices
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SCHEDULE OF BASIC PRICES
The Contractor is to state below the market prices of building materials current at the date of tender.
A | 225mm (9") hollow Blocks |  | nr
B | 150mm (6") hollow Blocks |  | nr
C | 100mm (4") hollow Blocks |  | nr
D | 10mm diameter mild steel reinforcement bars |  | ton
E | 12mm diameter mild steel reinforcement bars |  | ton
F | 16mm diameter mild steel reinforcement bars |  | ton
G | A142 wire mesh |  | roll
H | Cement |  | bag
J | Semi -washed gravel |  | ton
K | Granite |  | ton
L | Sharp Sand |  | ton
M | Plaster sand |  | ton
N | Dulux Silk paint |  | ton
P | Dulux Emulsion paint |  | ton
Q | Marine plywood (1200 x2400mm) |  | nr
0

## Daywork Rates
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SCHEDULE OF DAYWORK RATES
Works executed on a daywork basis
The Contractor is to state below the rates of labour and market prices of materials current at the date of tender.
A | Labourers |  | per day
B | Artisans (non-trade tested) |  | per day
C | Artisans (trade tested) |  | per day
D | Carpenter |  | per day
E | Steel/Iron bender |  | per day
F | Mason |  | per day
G | Plumber |  | per day
H | Painter |  | per day
J | Roofer |  | per day